| Company Name/Logo | pH Calibration Log Example | Version No.: 01 Last revised on: mm-dd-yyyy Approved by: [Personnel responsible] Effective Date: mm-dd-yyyy |
| --- | --- | --- |

A calibration check is a simple test to make sure that the pH meter is working and reading pH correctly. You will need to do this before each use. In order to check the calibration of the pH meter, you will use two buffer solutions that have a known pH (one solution with a pH of 7.0, and another with a pH of 4.0).

To check the calibration, remove the cap from your pH probe, rinse the probe with water, and dip the probe into a small container of fresh 7.0 buffer solution. Record the pH reading on this form. Rinse the probe again with distilled water and dip the probe into a small container of fresh 4.0 buffer solution. Record the pH reading on this form.

The pH reading from the meter should be within 6.9-7.1 for the 7.0 buffer solution, and 3.9-4.1 for the 4.0 buffer solution. If the pH meter reads outside this range, you will need to follow the instructions in the pH meter calibration procedure to adjust and calibrate the pH meter.

| Serial # | Date | Time | pH Reading in 7.0 Buffer Solution | pH Reading in 4.0 Buffer Solution | Adjustment required? | Adjustment completed? | Initial of worker |
| --- | --- | --- | --- | --- | --- | --- | --- |

Verification date and initials: ________________ Result:      acceptable        unacceptable-requires follow-up

Was this an on-site verification?      Yes      No      Result:      acceptable        unacceptable-requires follow-up