| Company Name/Logo | Scale Calibration Record Example 2 | Version No.: 01 Last revised on: mm-dd-yyyy Approved by: [Personnel responsible] Effective Date: mm-dd-yyyy |
| --- | --- | --- |

| Scales ID | Scale Calibration Weights & Tolerances |  | Reading |  | Status √/X | Deviation and corrective action |
| --- | --- | --- | --- | --- | --- | --- |
| Scale ## | - g +/- 0.5g (0.5g – 1.5g) | 500.0 g +/- 1.0 g (499.0g – 501.0 g) |  |  |  |  |
| Scale ## | 2.0 kg +/- 10 g (1.99kg – 2.01 kg) | 60.0 kg +/- 100 g (59.9 kg – 60.1 kg) |  |  |  |  |
| Scale ## | 500.0 g +/- 1.0 g (499.0g – 501.0 g) | 2.0 kg +/- 10 g (1.99kg – 2.01 kg) |  |  |  |  |
| Scale ## | 500.0 g +/- 1.0 g (499.0g – 501.0 g) | 2.0 kg +/- 10 g (1.99kg – 2.01 kg) |  |  |  |  |

Status: √ = within tolerance; X = not within tolerance; Any scale that is not within tolerance must be taken out of service and replaced with a calibrated scale. Describe in deviation and corrective action space actions taken for each numbered X.

Verification date and initials: ________________ Result:      acceptable        unacceptable-requires follow-up

Was this an on-site verification?      Yes      No      Result:      acceptable        unacceptable-requires follow-up