| Company Name/Logo | Thermometer Calibration Record Example 1 | Version No.: 01 Last revised on: mm-dd-yyyy Approved by: [Personnel responsible] Effective Date: mm-dd-yyyy |
| --- | --- | --- |

Calibration tolerance:  All thermometers must read within ±1.0°C of the known reference standard.  Ice-Point Method: Expected reading = 0°C Boiling-Point Method: Expected reading = 100°C at sea level (Edmonton: ~97°C). Frequency: Monthly

| Reference Temperatures/Critical Limit: |  |  | Cold: 0oC / +/- 1.0oC Hot: 97ºC / +/- 1.0oC |  |  |
| --- | --- | --- | --- | --- | --- |
| Date | Thermometer Description / ID # | Reference Temperature | Actual Reading | Corrective Actions | Monitor Initials |

Verification date and initials: ________________ Result:      acceptable        unacceptable-requires follow-up

Was this an on-site verification?      Yes      No      Result:      acceptable        unacceptable-requires follow-up