| Company Name/Logo | Thermometer Calibration Record Example 2 | Version No.: 01 Last revised on: mm-dd-yyyy Approved by: [Personnel responsible] Effective Date: mm-dd-yyyy |
| --- | --- | --- |

Reference thermometer ○C @ ice__________ Reference thermometer ○C @ boil__________________

| Date | Thermometer description / id # | Temp @ 0 ◦C (ice) | Temp diff to reference thermometer | Temp @ 97 ◦C (boil) | Temp diff to reference thermometer | Status |  | Monitor initial |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Acc | Unacc |  |

DEVIATION & CORRECTIVE ACTION: Thermometers must read +/- 1 ○C of reference thermometer reading: if not within limits requires calibration/ replacing.

Verification date and initials: ________________ Result:      acceptable        unacceptable-requires follow-up

Was this an on-site verification?      Yes      No      Result:      acceptable        unacceptable-requires follow-up