| Company Name/Logo | Well Water Treatment and Maintenance Record Example | Version No.: 01 Last revised on: mm-dd-yyyy Approved by: [Personnel responsible] Effective Date: mm-dd-yyyy |
| --- | --- | --- |

### 1. General Information

| Facility Name | Well ID / Location |
| --- | --- |

| Date of Treatment | Time Started | Performed By (Name & Position) |
| --- | --- | --- |

Reason for Chlorine Shock (check one):
☐ Routine maintenance
☐ Corrective action following unsatisfactory bacteriological result
☐ Post-plumbing repair
☐ Presence of iron bacteria
☐ Other: ______________________________________________

### 2. Pre-Treatment Assessment

| Condition | Observation (A/U)* |
| --- | --- |
| Iron bacteria present |  |
| Odour / taste issues |  |
| Turbidity / cloudiness |  |
| Recent plumbing work |  |
| Visible contamination around well cap/casing |  |
| Other |  |

*A=acceptable, U=acceptable

### 3. Chlorine Shock Treatment Details

| Chlorine Product Used | Concentration | Amount Added |
| --- | --- | --- |

| Application Point | Tank / System Volume Treated | Required Contact Time (hrs) | Actual Contact Time (hrs) |
| --- | --- | --- | --- |
| ☐ Well Casing ☐ Pressure Tank ☐ Both |  |  |  |

### Procedural Steps:
☐ Water system flushed before chlorination
☐ Chlorine circulated through the entire plumbing system
☐ All fixtures flushed until chlorine odor detected
☐ System allowed to rest for required contact time
☐ Final flush performed until chlorine odor fully dissipated

### 4. Post-Treatment Actions

| System Flushed On (Date/Time) | Chlorine Odour Cleared (Y/N) | Water Returned to Service (Date/Time) |
| --- | --- | --- |

### 5. Corrective Actions (if required)

| Issue Identified | Corrective Action Taken | Date Completed | Performed By |
| --- | --- | --- | --- |

Additional Actions Required:
☐ Additional chlorination
☐ Plumbing repair
☐ Well head repair/sealing
☐ Retesting (24-hour interval)
☐ Other: ____________________________________________

Verification date and initials: ________________ Result:      acceptable        unacceptable-requires follow-up

Was this an on-site verification?      Yes      No      Result:      acceptable        unacceptable-requires follow-up