| Company Name/logo | Exterior Inspection Procedure Example | Version No.: 01 |
| --- | --- | --- |
| Effective Date: mm-dd-yyyy | Approved by: [Insert Manager/ Supervisor responsible] | Revision Date: mm-dd-yyyy |

### Purpose:

To ensure the building facility is located away from or protected against potential sources of external contaminants that may compromise the safety of food. The surrounding/roadways are free of debris and refuse, adequately drained and maintained to minimize environmental hazards.

### Who:

Maintenance Supervisor/Kill Floor Supervisor/Operator

### Frequency:

Monthly during Spring, Summer and Fall seasons

### Procedure:

- Retrieve the Exterior Inspection Record.

- Ensure that no processing‑area clothing (e.g., white coats) is worn while inspecting the exterior perimeter of the facility.

- Conduct the inspection following the components outlined in the Exterior Inspection Record, including:

Exterior building walls

Roof

Septic lines, sanitary drainage, and exterior pumps

Well system and/or cistern

Exterior door openings

Perimeter

General exterior conditions

- Document all observations and findings on the Exterior Inspection Record.

### Deviation and Corrective Action Procedures:

If an issue is corrected immediately, document the corrective action taken. Short‑term repairs will be assigned a completion date by a Supervisor or Designate and recorded on the Exterior Inspection Record, with sign‑off by the Supervisor once the work is completed. Any deviations requiring long‑term maintenance will also be recorded on the Exterior Inspection Record and transferred to the Maintenance Work Order Log, and these repairs will be signed off by the Supervisor once fully completed.

### Verification Procedures:

Verification of the exterior inspection procedure is conducted by the operator or their designated Supervisor annually, with additional verification performed whenever repeated deficiencies occur or after major exterior repairs or structural changes.

This will be accomplished by:

Reviewing completed records for accuracy,

Checking that corrective actions were documented and assigned appropriate timelines,

Confirming that immediate, short‑term, and long‑term repairs were completed and signed off, and ensuring long‑term items were transferred to the Maintenance Work Order Log.

An onsite verification will be conducted to ensure that the procedure is being followed.

All verification activities and findings are documented in the Exterior Inspection Record, with supporting details recorded in the Maintenance Work Order Log as needed.

### Records:

Exterior Inspection Record

Maintenance Work Order Log

### Review:

This procedure will be reviewed annually and/ or updated whenever changes to facility operations, procedures, or processes occur that may affect its accuracy or effectiveness. It is the responsibility of the operator to ensure that all written programs reflect current practices and continue to achieve their intended food safety outcomes.

### 8.1 Revision/Review Log

| Version No. | Revision Date/ Annual review date | Description of Change | Revised/ Reviewed by |
| --- | --- | --- | --- |