| Company Name/Logo | Exterior Inspection Record Example | Version No.: 01 Last revised on: mm-dd-yyyy Approved by: [Personnel responsible] Effective Date: mm-dd-yyyy |
| --- | --- | --- |

Completed By:  _____________________     Date: ____________________                C: conforms      NC: non-compliant

| Area | Components | C | NC | Deviations/Comments | Proposed Repair Date | Assigned To | Complete Date/Initial |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outside Walls of Building | No cracks |  |  |  |  |  |  |
|  | Maintained to prevent entry of pests and contaminants |  |  |  |  |  |  |
| Roof of Building | No cracks or holes |  |  |  |  |  |  |
|  | Maintained to prevent leakage and entry of pests and contaminants |  |  |  |  |  |  |
|  | Ventilation to outside working as necessary |  |  |  |  |  |  |
| Septic Lines, Sanitary Drainage, Pump-out Tanks | In good working order, Intact |  |  |  |  |  |  |
|  | Not attracting pests |  |  |  |  |  |  |
| Well System and/or Cistern | Maintained and covered |  |  |  |  |  |  |
|  | Clean and accessible |  |  |  |  |  |  |
| Outside Door Openings | Outside doors to premises close fitting and self-closing |  |  |  |  |  |  |
|  | All doors in good working order |  |  |  |  |  |  |
|  | Pest control devices in place on either side |  |  |  |  |  |  |
| Corrals and Pens | Manure or debris in lairage kept at minimum |  |  |  |  |  |  |
|  | Maintenance of rails, ramps, walls, etc. |  |  |  |  |  |  |
| Perimeter | Grass and weeds are maintained (cut short) |  |  |  |  |  |  |
|  | No debris, equipment, pallets, etc. up against building |  |  |  |  |  |  |
| General Exterior Upkeep | Free of debris, refuse and extra materials (no piles of garbage, spare equipment, pipes, wood, pallets, other materials etc. stored up against or directly outside building) |  |  |  |  |  |  |
|  | No inedible material or hides |  |  |  |  |  |  |
|  | Adequately drained - no pooling/standing water or potholes close to building |  |  |  |  |  |  |
|  | No observed mice |  |  |  |  |  |  |
|  | No environmental contaminants (no improperly stored chemicals, etc.) |  |  |  |  |  |  |
|  | Garbage bins are maintained (covered/closed, no leaks, not overflowing) |  |  |  |  |  |  |
|  | Garbage is not accumulated on surrounding property (inform plant manager of unsatisfactory findings and have appropriate department clean area) |  |  |  |  |  |  |
|  | Gravel or paved perimeter directly around the facility with no ingrown weeds/grass. (grass and weeds are cut during summer months April-Oct) |  |  |  |  |  |  |

Verification date and initials: ________________ Result:      acceptable        unacceptable-requires follow-up

Deviations, Comments and Corrective Actions - If more space is needed use back of record

Was this an on-site verification?      Yes      No      Result:      acceptable        unacceptable-requires follow-up