|  |
| --- |
| \\goa\desktop\K_O\norman.ho\Desktop\AB-Sig 2Color Sky CMYK.jpg**Section Cover Page** |
| **Document 00 01 10**  **2022-10-31 Table of Contents** |

Use this **"working** **copy"** **Table** **of** **Contents** for preparing the Table of Contents to be included in a project specification which has been based on the Basic Master Specification (BMS). Modify (edit) list as required to suit project. List all detail drawings, sketches and schedules contained in the specification.

If practicable, limit project specification to a single volume of 800 pages (400 sheets) maximum. If more than one volume is necessary, divide specification into separate volumes in a logical manner (e.g. group mechanical and electrical specifications in one volume), and indicate contents of each volume in the Table of Contents.

If applicable, append Document 00 01 15 - List of Drawings, to this table of contents.

Refer to Infrastructure technical resources on the department’s web site at <https://www.alberta.ca/infrastructure-technical-resources.aspx> for a complete and current listing of the contents of all of the Master Specifications contained in the department’s Master Specification System.

|  |
| --- |
| \\goa\desktop\K_O\norman.ho\Desktop\AB-Sig 2Color Sky CMYK.jpg**Change Log** |
| **Section 00 01 10**  **2022-10-31 Table of Contents** |

**Changes made in Update (2022-10-31)**

1. Added AB Logo to pages
2. Updated page header: Added WBS Number to Project ID.
3. Updated List of Spec Sections:
   1. Added 37 spec sections
   2. Deleted 68 spec sections
   3. Updated 11 sections with revised section numbers or names

|  |
| --- |
| \\goa\desktop\K_O\norman.ho\Desktop\AB-Sig 2Color Sky CMYK.jpg  **Plan No:  Table of Contents**  **Project ID/WBS Number:  Page 1** |

PREAMBLE

The division and section arrangement of these Specifications is generally based on MasterFormat™, 2004 edition, published jointly by Construction Specifications Canada and the Construction Specifications Institute.

Where it is indicated that a division of MasterFormat™ is “Not Used”, or where a division heading is omitted entirely, this does not necessarily mean that work normally specified in that division is not required. It may be specified elsewhere.

[The Specification documentation for this project is bound in [     ] separate volumes as follows:

Volume I: Project Specifications, Divisions [         ]

Volume II: Project Specifications, Divisions [         ]

Volume III: [                                           ]]

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **MasterFormat Headings** |  | **Section Number** |  | Section  Name |

[Volume [I] [II] [III]]

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **DIVISION 00 – PROCUREMENT AND CONTRACTING REQUIREMENTS** | | | | |
|  |  |  |  |  |
| **Introductory Information** |  | 00 01 25 |  | Detail Drawings |
|  |  |  |  |
|  |  |  |  |  |
| **Instructions for Procurement** |  | 00 21 13 |  | Instructions to Bidders |
|  | 00 25 13 |  | Pre-Bid Meeting |
|  |  |  |  |  |
| **Available Information** |  | 00 31 00 |  | Available Information Documents |
|  |  |  |  |  |
| **Procurement Forms and Supplements** |  | 00 41 13 |  | Stipulated Price Bid Form |
|  | 00 41 19 |  | Stipulated Price Bid Form (Alternatives) |
|  | 00 41 43 |  | Unit Price Bid Form |
|  |  | 00 43 13 |  | Bid Security |
|  |  |  |  |  |
| **Contracting Forms and Supplements** |  | 00 52 13 |  | Agreement Form |
|  | 00 54 22 |  | Unit Price Schedule |
|  | 00 52 91 |  | Assignment and Novation Agreement |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Project Forms** |  | 00 61 13 |  | Contract Performance Security |
|  | 00 61 90 |  | Security for Payment of Claims |
|  | 00 61 90A |  | Labour and Material Payment Bond |
|  | 00 61 91 |  | Security Upon Assignment (Assignable Contracts) |
|  |  |  |  |  |
| **Conditions of the Contract** |  | 00 71 00 |  | Definitions |
|  | 00 72 00 |  | General Conditions of Contract |
|  |  | 00 72 00[ ] |  | Appendix A - Key Performance Indicators |
|  |  | 00 73 [    ] |  | Supplementary Conditions |
|  |  | 00 73 16 |  | Insurance Conditions; |
|  | 00 73 16A |  | Certificate of Liability Insurance |
|  | 00 73 16B |  | Certificate of Property Insurance |
|  | 00 73 80 |  | Payment Conditions |
|  | 00 73 80A |  | Statutory Declaration of Payment Distribution |
|  | 00 73 83 |  | Facility Start-Up Payments |
|  | 00 73 90 |  | Public Works Act Claims |
|  | 00 73 90A |  | Statement of Public Works Act Claim |
|  |  | 00 91 13 |  | Addenda |
|  |  |  |  |  |
| **DIVISION 01 – GENERAL REQUIREMENTS** | | | | |
|  |  |  |  |  |
| **Summary of Work** |  | 01 11 00 |  | Summary of Work |
|  |  | 01 11 05 |  | Contract Time and Time Control |
|  |  | 01 11 07 |  | Contract Assignment |
|  |  | 01 11 08 |  | Assignable Contracts |
|  |  |  |  |  |
| **Price and Payment Procedures** |  | 01 21 13 |  | Cash Allowances |
|  | 01 21 14 |  | Service Connections |
|  |  |  |  |  |
|  |  | 01 23 00 |  | Alternatives |
|  |  | 01 26 63 |  | Change Order Procedures |
|  |  | 01 26 63A |  | Schedule of Labour Rates |
|  |  | 01 29 70 |  | Cost Breakdown List |
|  |  |  |  |  |
| **Administrative Requirements** |  | 01 31 13 |  | Project Coordination |
|  | 01 31 19 |  | Project Meetings |
|  |  | 01 32 16 |  | Construction Schedules |
|  |  | 01 32 17 |  | Network Analysis Schedule |
|  |  | 01 33 00 |  | Submittal Procedures |
|  |  | 01 33 23 |  | Shop Drawings, Product Data and Samples |
|  |  | 01 33 35 |  | Contractor Start‑Up Report Forms |
|  |  | 01 35 13 |  | Leased Space Project Procedures |
|  |  | 01 35 14 |  | Project Security and Safety Procedures |
|  |  | 01 35 16 |  | Alteration Project Procedures |
|  |  |  |  |  |
|  |  | 01 35 18 |  | LEED Requirements |
|  |  | 01 35 20 |  | Environmental Procedures |
|  |  | 01 35 29 |  | Work Site Safety |
|  |  |  |  |  |
| **Quality Requirements** |  | 01 41 00 |  | Regulatory Requirements |
|  |  | 01 45 00 |  | Quality Control |
|  |  |  |  |  |
| **Temporary Facilities and Controls** |  | 01 50 00 |  | Temporary Facilities and Controls |
|  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **Product Requirements** |  | 01 62 00 |  | Product Options and Substitutions |
|  |  | 01 62 35 |  | Products List |
|  |  | 01 62 35A |  | Products List - Appendix |
|  |  |  |  |  |
| **Execution and Closeout Requirements** |  |  |  |  |
|  | 01 74 19 |  | Waste Management and Disposal |
|  | 01 74 19A |  | Waste Management Plan Construction and Demolition Projects |
|  | 01 74 19B |  | Cost/Revenue Analysis Workplan Construction and Demolition Project |
|  | 01 74 23 |  | Final Cleaning |
|  |  | 01 77 00 |  | Contract Closeout |
|  |  | 01 77 20 |  | Contract Acceptance Procedures |
|  |  | 01 78 23 |  | Operation and Maintenance Data and Manuals |
|  |  | 01 78 39 |  | Project Record Documents |
|  |  | 01 78 43 |  | Spare Parts and Maintenance Materials |
|  |  | 01 79 00 |  | Equipment and Systems Demonstration and Instruction |
|  |  |  |  |  |
| **Life Cycle Activities** |  | 01 91 01 |  | Facility Start‑Up Procedures |
|  |  | 01 91 05 |  | Starting of Equipment and Systems |
|  |  | 01 91 10 |  | Testing, Adjusting and Balancing |
|  |  |  |  |  |
| **DIVISION 02 – EXISTING CONDITIONS** | | | | |
|  |  |  |  |  |
| **Demolition and Structure Moving** |  | 02 41 16 |  | Building Demolition |
|  | 02 41 19 |  | Selective Building Demolition |
|  |  | 02 41 20 |  | Interior Demolition |
|  |  |  |  |  |
| **Facility Remediation** |  | 02 82 01 |  | Asbestos Control General Requirements |
|  |  | 02 82 05 |  | Asbestos Containment Procedures |
|  |  | 02 82 15 |  | Asbestos Encapsulation |
|  |  | 02 82 33 |  | Asbestos Removal |
|  |  | 02 83 19 |  | Removal and Disposal of Bulk Lead Materials and Lead-Based Paints |
|  |  | 02 84 16 |  | Removal and Disposal of PCB Capacitors and Ballasts |
|  |  | 02 84 25 |  | Removal and Disposal of PCB Transformers |
|  |  | 02 85 05 |  | Mould Removal General Requirements |
|  |  | 02 85 16 |  | Mould Containment Procedures |
|  |  | 02 85 33 |  | Mould Removal Procedures |
|  |  | 02 91 19 |  | Removal and Disposal of Ozone Depleting Substances (ODS) |
|  |  | 02 92 19 |  | Removal and Disposal of Mercury Component |
|  |  | 02 95 00 |  | Removal and Disposal of Biohazards |
|  |  | 02 99 00 |  | Removal and Disposal of Radioactive Components in Smoke Detectors |
|  |  |  |  |  |
| **DIVISION 03 - CONCRETE** | | | | |
|  |  |  |  |  |
| **Concrete Forming and Accessories** |  | 03 05 05  03 11 00 |  | Testing of Concrete and Reinforcement  Concrete Forms and Accessories |
|  |  | 03 15 19 |  | Underslab Vapour Barriers |
|  |  |  |  |  |
| **Concrete Reinforcing** |  | 03 20 00 |  | Concrete Reinforcement |
|  |  | 03 30 00 |  | Cast-In-Place Concrete |
|  |  | 03 30 10 |  | Cast-In-Place Concrete (Short Form) |
|  |  | 03 35 10 |  | Concrete Floor Finishes |
|  |  |  |  |  |
| **Precast Concrete** |  | 03 45 00 |  | Precast Architectural Concrete |
|  |  |  |  |  |
| **Cast Decks and Underlayment** |  | 03 52 16 |  | Lightweight Insulating Concrete |
|  |  |  |  |  |
| **DIVISION 04 - MASONRY** | | | | |
|  |  |  |  |  |
| **Unit Masonry** |  | 04 20 00 |  | Masonry Units |
|  |  | 04 23 00 |  | Glass Masonry Units |
|  |  |  |  |  |
|  |  |  |  |  |
| **DIVISION 05 - METALS** | | | | |
|  |  |  |  |  |
| **Common Work Results** |  | 05 05 05 |  | Steel Testing and Inspection |
| **Structural Metal Framing** |  | 05 12 00 |  | Structural Steel Framing |
|  |  |  |  |  |
| **Metal Joists** |  | 05 21 19 |  | Open Web Steel Joists |
|  |  |  |  |  |
| **Metal Decking** |  | 05 30 00 |  | Metal Decking |
|  |  |  |  |  |
| **Cold-Formed Metal Framing** |  | 05 41 00 |  | Wind Bearing Metal Stud Systems |
|  |  |  |  |  |
| **Metal Fabrications** |  | 05 50 00 |  | Custom Metal Fabrications |
|  |  | 05 51 00 |  | Metal Stairs |
|  |  |  |  |  |
| **DIVISION 06 – WOOD, PLASTICS AND COMPOSITES** | | | | |
|  |  |  |  |  |
| **Rough Carpentry** |  | 06 10 00 |  | Rough Carpentry |
|  |  | 06 15 00 |  | Wood Decking |
|  |  | 06 17 53 |  | Prefabricated Wood Trusses |
|  |  | 06 18 00 |  | Glued Laminated Structural Units |
|  |  |  |  |  |
| **Finish Carpentry** |  | 06 20 00 |  | Finish Carpentry |
|  |  |  |  |  |
| **Architectural Woodwork** |  | 06 40 00 |  | Architectural Woodwork |
|  | | | | |
| **DIVISION 07 – THERMAL AND MOISTURE PROTECTION** | | | | |
|  |  |  |  |  |
| **Dampproofing and** |  | 07 11 13 |  | Bituminous Dampproofing |
| **Waterproofing** |  | 07 13 00 |  | Sheet Membrane Waterproofing |
|  |  | 07 14 00 |  | Fluid Applied Waterproofing |
|  |  | 07 17 00 |  | Bentonite Clay Waterproofing |
|  |  |  |  |  |
| **Thermal Protection** |  | 07 21 13 |  | Rigid Board Insulation |
|  |  | 07 21 16 |  | Non-Rigid Fibrous Insulation |
|  |  | 07 21 23 |  | Granular Insulation |
|  |  | 07 24 13 |  | Class PB Exterior Insulation and Finish Systems |
|  |  | 07 24 16 |  | Class PM Exterior Insulation and Finish Systems |
|  |  |  |  |  |
| **Weather Barrier** |  | 07 26 00 |  | Sheet Membrane Air and Vapour Seal |
|  |  | 07 27 28 |  | Spray Applied Polyurethane Foam Air Seal |
|  |  |  |  |  |
| **Steep Slope Roofing** |  | 07 31 13 |  | Asphalt Shingle Roofing on Un-Insulated Wood Deck |
|  |  | 07 31 13.01 |  | Detail Drawing - Eave and Angle Protection |
|  |  | 07 31 29 |  | Cedar [Shingle] [Shake] Roofing |
|  |  |  |  |  |
| **Roofing and Siding Panels** |  | 07 42 13 |  | Preformed Metal Siding System |
|  | 07 46 15 |  | Metal Siding |
|  |  | 07 46 13 |  | Wood Siding |
|  |  |  |  |  |
| **Membrane Roofing** |  |  |  |  |
|  |  |  |  |  |
|  |  | 07 52 00 |  | Modified Bituminous Membrane Roofing |
|  |  |  |  |  |
| **Flashing and Sheet Metal** |  | 07 62 00 |  | Metal Flashings for Bituminous Membrane Roofing |
|  | 07 62 10 |  | Flashing and Rainwater Goods for Steep Roofs |
|  |  | 07 62 10.01 |  | Detail Drawing - Eave and Rake Edge Details |
|  |  |  |  |  |
| **Fire and Smoke Protection** |  | 07 81 16 |  | Cementitious Fireproofing |
|  | 07 84 00 |  | Firestopping |
|  |  |  |  |  |
| **Joint Protection** |  | 07 92 00 |  | Joint Sealants |
|  |  |  |  |  |
|  |  |  |  |  |
| **DIVISION 08 - OPENINGS** | | | | |
|  |  |  |  |  |
| **Doors and Frames** |  | 08 11 16 |  | Aluminum Doors and Frames |
|  |  | 08 12 13 |  | Hollow Metal Frames |
|  |  | 08 13 13 |  | Hollow Metal Doors |
|  |  | 08 14 16 |  | Flush Wood Doors |
|  |  | 08 14 23 |  | Plastic Laminate Faced Wood Doors |
|  |  |  |  |  |
| **Specialties Doors and Frames** |  | 08 35 13 |  | Accordion Folding Doors |
|  | 08 36 13 |  | Overhead Sectional Doors |
|  |  |  |  |  |
| **Entrances, Storefronts and Curtain Walls** |  | 08 41 13 |  | Aluminum Framed Entrances and Storefronts |
|  | 08 42 30 |  | Low Energy Swing Door Operators |
|  |  | 08 51 13 |  | Aluminum Windows |
|  |  |  |  |  |
| **Plastic Windows** |  | 08 53 00 |  | Plastic Windows |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **Hardware** |  | 08 70 00 |  | Hardware |
|  |  |  |  |  |
| **Glazing** |  | 08 81 00 |  | Glass and Glazing General Requirements |
|  |  | 08 81 05 |  | Glazing |
|  |  |  |  |  |
| **DIVISION 09 -FINISHES** | | | | |
|  |  |  |  |  |
| **Plaster and Gypsum Board** |  | 09 22 10 |  | Furring and Lathing for Plaster |
|  | 09 23 00 |  | Gypsum Plastering |
|  |  | 09 24 23 |  | Portland Cement Stucco |
|  |  | 09 29 00 |  | Gypsum Board |
|  |  |  |  |  |
| **Tiling** |  | 09 30 13 |  | Ceramic Tile |
|  |  | 09 30 16 |  | Quarry Tile Flooring |
|  |  |  |  |  |
| **Ceilings** |  | 09 51 13 |  | Acoustic Unit Ceilings |
|  |  | 09 57 90 |  | Acoustical Baffles |
|  |  |  |  |  |
| **Flooring** |  | 09 64 23 |  | Wood Parquet Flooring |
|  |  | 09 65 00 |  | Resilient Flooring |
|  |  | 09 66 13 |  | Portland Cement Terrazzo |
|  |  | 09 67 16 |  | Epoxy-Marble Chip Flooring |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  | 09 68 19 |  | Modular Carpet |
|  |  | 09 69 00 |  | Access Flooring |
|  |  |  |  |  |
| **Wall Finishes** |  | 09 72 16 |  | Vinyl Coated Fabric Wall Covering |
|  |  |  |  |  |
| **Acoustical Treatment** |  | 09 81 30 |  | Sprayed Cellulose Fibre Acoustical Insulation |
|  |  | 09 84 13 |  | Fabric Wrapped Acoustical Wall Panels |
|  |  | 09 84 14 |  | Tensioned Fabric Acoustical System with Concealed Track |
|  |  |  |  |  |
| **Painting and Coating** |  | 09 91 05 |  | Painting and Finishing General Requirements |
|  |  | 09 91 13 |  | Exterior Painting and Finishing Schedule |
|  |  | 09 91 15 |  | Exterior Repainting and Refinishing Schedule |
|  |  | 09 91 23 |  | Interior Painting and Finishing Schedule |
|  |  | 09 91 25 |  | Interior Repainting and Refinishing Schedule |
|  |  | 09 91 30 |  | Painting of Mechanical and Electrical Work |
|  |  | 09 96 53 |  | Vinyl-Acrylic Coatings |
|  |  | 09 96 56 |  | Epoxy Wall Coatings |
|  |  | 09 97 26 |  | Sprayed Cementitious Textured Coating |
|  |  |  |  |  |
| **DIVISION 10 - SPECIALTIES** | | | | |
|  |  |  |  |  |
| **Information Specialties** |  | 10 11 13 |  | Chalkboards and Tackboards |
|  |  | 10 14 16 |  | Plaques |
|  |  |  |  |  |
| **Interior Specialties** |  | 10 21 13 |  | Metal Toilet Compartments |
|  |  | 10 21 14 |  | Plastic Laminate Toilet Compartments |
|  |  | 10 22 19 |  | Demountable Steel Stud and Gypsum Board Partitions |
|  |  | 10 22 19.01 |  | Interior Partition Details |
|  |  | 10 22 20 |  | Non-Progressive Movable Walls |
|  |  | 10 22 26 |  | Accordion Folding Partitions |
|  |  | 10 22 27 |  | Operable Walls (Sound Rated) |
|  |  | 10 28 13 |  | Washroom Accessories |
|  |  |  |  |  |
| **Safety Specialties** |  | 10 44 16 |  | Portable Fire Extinguishers |
|  |  |  |  |  |
| **Storage Specialties** |  | 10 51 00 |  | Lockers |
|  |  | 10 56 13 |  | Office Type Metal Shelving |
|  |  | 10 56 26 |  | Small Mobile Shelving Systems |
|  |  | 10 56 27 |  | Large Mobile Shelving Systems |
|  |  | 10 56 29 |  | Industrial Type Metal Shelving |
|  |  |  |  |  |
| **DIVISION 11 - EQUIPMENT** | | | | |
|  |  |  |  |  |
| **Vehicle and Pedestrian Equipment** |  | 11 13 13 |  | Loading Dock Bumpers |
|  | 11 13 19 |  | Stationary Scissor Lift |
|  |  |  |  |  |
| **Food Service Equipment** |  | 11 40 00 |  | Food Service Equipment |
|  |  |  |  |  |
| **Educational and Scientific Equipment** |  | 11 53 13 |  | Laboratory Fume Hoods |
|  |  |  |  |  |
| **DIVISION 12 - FURNISHINGS** | | | | |
|  |  |  |  |  |
| **Window Treatments** |  | 12 21 16 |  | Vertical Louvre Blinds |
|  |  | 12 22 13 |  | Window Drapery and Accessories |
|  |  |  |  |  |
| **Furnishings and Accessories** |  | 12 48 13  12 59 00 |  | Entrance Floor Mats  Furniture Systems |
|  |  | 12 59 00.01 |  | Workspace Drawings PDF |
|  |  | 12 59 00.02 |  | Workspace Drawings CAD |
|  |  | 12 68 13 |  | Tables |
|  |  |  |  |  |
| **Other Furnishings** |  | 12 92 00 |  | Interior Artificial Plants |
|  |  |  |  |  |
| **DIVISION 13 – SPECIAL CONSTRUCTION** | | | | |
|  |  |  |  |  |
| **Special Structures** |  | 13 34 24 |  | Pre‑Engineered Sand Storage Structure |
|  |  |  |  |  |
| **DIVISION 20 – COMMON MECHANICAL REQUIREMENTS** | | | | |
|  |  |  |  |  |
|  |  | 20 00 13 |  | Mechanical General Requirements |
|  |  | 20 00 23 |  | Mechanical Spare Parts and Maintenance Materials |
|  |  | 20 01 05 |  | Mechanical Operation and Maintenance Data |
|  |  | 20 01 05.01 |  | Detail Drawing - Point Mnemonic Descriptions |
|  |  | 20 01 06 |  | Mechanical Operation and Maintenance Manuals |
|  |  | 20 01 06.01 |  | Detail Drawing - Operation and Maintenance Manual - Controls Section Outline |
|  |  | 20 01 06.02 |  | Detail Drawing - Point Mnemonic Descriptions |
|  |  |  |  |  |
|  |  | 20 05 19 |  | Meters |
|  |  | 20 05 23 |  | Valves |
|  |  | 20 05 25 |  | Pressure Gauges and Thermometers |
|  |  | 20 05 29 |  | Hangers and Supports |
|  |  | 20 05 43 |  | Mechanical Identification |
|  |  | 20 05 48 |  | Vibration Isolation |
|  |  |  |  |  |
|  |  | 20 15 00 |  | Tanks |
|  |  | 20 15 00.01 |  | Detail Drawing - Expansion Tank – Pneumatic Vessel |
|  |  | 20 15 00.02 |  | Detail Drawing - Glycol Fill Tank Pressure Vessel Type |
|  |  | 20 15 00.03 |  | Detail Drawing - Domestic Hot Water Storage Tank |
|  |  | 20 15 00.04 |  | Detail Drawing - Underground Fuel Storage Tank Fill Assembly |
|  |  |  |  |  |
|  |  | 20 20 10 |  | Pipe and Pipe Fittings |
|  |  | 20 20 30 |  | Piping and Equipment Insulation |
|  |  | 20 20 40 |  | Expansion Compensation |
|  |  | 20 20 60 |  | Pumps |
|  |  | 20 40 35 |  | Hot Water Specialties |
|  |  | 20 40 38 |  | Steam Specialties |
|  |  | 20 40 40 |  | Refrigeration Specialties |
|  | | | | |
| **DIVISION 21 – FIRE SUPPRESSION** | | | | |
|  |  |  |  |  |
| **Water-Based Fire Suppression Systems** |  | 21 12 00 |  | Fire Suppression Standpipe and Hose System |
|  | 21 13 13 |  | Wet Pipe Sprinkler System |
|  |  |  |  |  |
| **DIVISION 22 - PLUMBING** | | | | |
| **Plumbing Piping and Pumps** |  | 22 05 90 |  | Plumbing Specialties |
|  |  | 22 11 20 |  | Cleaning Domestic Water Systems |
|  |  |  |  |
|  |  | 22 13 53 |  | Septic Tanks |
|  |  | 22 13 53.01 |  | Detail Drawing - Precast Concrete Septic Tank Siphon Chamber |
|  |  | 22 13 53.02 |  | Detail Drawing - Precast Concrete Septic Tank Pump Out Chamber |
|  |  | 22 13 60 |  | Sewage Disposal Field |
|  |  | 22 13 60.01 |  | Detail Drawing - Above Ground Sewage Field |
|  |  | 22 13 60.02 |  | Detail Drawing - Sewer Rise |
|  |  | 22 13 60.03 |  | Detail Drawing - Subsurface Sewage Disposal Field |
|  |  | 22 13 65 |  | Sewage Holding Tanks |
|  |  |  |  |  |
| **Compressed-Air Systems** |  | 22 15 10 |  | Reciprocating Air Compressors |
|  |  |  |  |  |
| **Plumbing Fixtures** |  | 22 42 00 |  | Plumbing Fixtures and Trim |
|  |  |  |  |  |
| **Pool and Fountain Plumbing Systems** |  | 22 51 19 |  | Cleaning and Chemical Treatment of Spa/Swimming Pools |
|  | | | | |
| **DIVISION 23 – HEATING, VENTILATING AND AIR-CONDITIONING (HVAC)** | | | | |
|  |  |  |  |  |
|  |  | 23 01 30 |  | Duct System Cleaning |
|  |  | 23 07 00 |  | Ductwork and Breeching Insulation |
|  |  | 23 08 13 |  | General Mechanical Starting and Testing Requirements |
|  |  | 23 08 23 |  | Mechanical Equipment Starting and Testing |
|  |  | 23 08 33 |  | Mechanical Systems Starting and Testing Systems |
|  |  | 23 08 43 |  | Pressure Testing |
|  |  | 23 08 83 |  | Balancing and Adjusting of Mechanical Equipment and Systems |
|  |  | 23 08 93 |  | Mechanical Equipment and Systems Demonstration and Instruction |
| **Commissioning for** |  | 23 08 95 |  | EMCS Start-Up and Testing |
| **HVAC** |  | 23 09 23 |  | Energy Management and Control System (EMCS) General Requirements |
| **Instrumentation and**  **Control for HVAC** |  | 23 09 24 |  | EMCS Network Communications and System Configuration |
|  |  | 23 09 25 |  | EMCS Central Control Units and Peripherals |
|  |  | 23 09 26 |  | EMCS Remote Control Units |
|  |  | 23 09 27 |  | EMCS Terminal Control Units |
|  |  | 23 09 28 |  | EMCS Field Work |
|  |  | 23 09 29 |  | EMCS Sensors, Devices and Actuators |
|  |  | 23 09 30 |  | EMCS Point Schedules |
|  |  | 23 09 93 |  | EMCS Control Sequences |
|  |  |  |  |  |
| **Facility Fuel Systems** |  | 23 10 10 |  | Service Station Fuel Dispensing System |
|  |  |  |  |  |
| **HVAC Piping and Pumps** |  | 23 25 01 |  | Cleaning and Chemical Treatment Equipment |
|  | 23 25 01.01 |  | Detail Drawing - Chemical Pot Feeder and Corrosion Coupon Rack |
|  |  | 23 25 01.02 |  | Detail Drawing - Installation of Chemical Pot Feeder, By‑pass Filter, Corrosion Coupon Rack, and Sample Cooler |
|  |  | 23 25 01.03 |  | Detail Drawing - Installation of Chemical Metering System for Steam Boilers |
|  |  | 23 25 01.04 |  | Detail Drawing - Installation of Corrosion Coupon Rack, Chemical Metering System and Total Dissolved Solids Control System, for Condenser Water System |
|  |  | 23 25 01.05 |  | Detail Drawing - Installation of Corrosion Coupon Rack, Chemical Metering System and Total Dissolved Solids Control System, for Evaporative Condenser Water System |
|  |  | 23 25 01.06 |  | Packaged Steam Humidification System |
|  |  | 23 25 02 |  | Cleaning and Chemical Treatment Equipment - General Requirements |
|  |  | 23 25 13 |  | Cleaning and Chemical Treatment of Hydronic Systems |
|  |  | 23 25 19 |  | Cleaning and Chemical Treatment of Steam Boiler Systems |
|  |  | 23 25 20 |  | Cleaning and Chemical Treatment of Condenser Water Systems |
|  |  | 23 25 26 |  | Cleaning and Chemical Treatment of Glycol Systems |
|  |  |  |  |  |
| **HVAC Air Distribution** |  | 23 31 13 |  | Ductwork |
|  |  | 23 31 30 |  | Ductwork Accessories |
|  |  | 23 34 00 |  | Fans |
|  |  | 23 36 00 |  | Terminal High Velocity Units |
|  |  | 23 37 10 |  | Air Outlets |
|  |  | 23 42 00 |  | Particulate Air Filters |
|  |  |  |  |  |
| **Central Heating Equipment** |  | 23 51 00 |  | Breeching and Chimneys |
|  | 23 52 16 |  | Condensing Boilers |
|  | 23 52 23 |  | Cast Iron Boilers |
|  | 23 52 33 |  | Water Tube Boilers |
|  |  | 23 52 34 |  | Packaged Steel Water Tube Boilers |
|  |  | 23 52 39 |  | Packaged Steel Fire Tube Boilers |
|  |  | 23 54 16 |  | Forced Air Furnaces |
|  |  | 23 55 01 |  | Direct Fired Units |
|  |  | 23 57 00 |  | Heat Exchangers |
|  |  |  |  |  |
| **Central Cooling Equipment** |  | 23 61 16 |  | Reciprocating Refrigeration Compressor |
|  | 23 63 13 |  | Air Cooled Condensing Units |
|  |  | 23 63 14 |  | Air Cooled Refrigerant Condensers |
|  |  | 23 64 05 |  | Chiller Upgrading - Purge Unit and Pressure Relief Valve |
|  |  | 23 64 13 |  | Absorption Water Chillers |
|  |  | 23 64 16 |  | Centrifugal Water Chillers |
|  |  | 23 64 19 |  | Reciprocating Water Chillers |
|  |  | 23 65 13 |  | Induced Draft Cooling Tower |
|  |  | 23 65 16 |  | Blow Through Cooling Tower |
|  |  |  |  |  |
| **Central HVAC Equipment** |  | 23 73 10 |  | Air Handling Units |
|  | 23 73 13 |  | Custom Outdoor Pre-manufactured Air Handling Units |
|  | 23 73 23 |  | Custom Indoor Pre-manufactured Air Handling Units |
|  | 23 74 50 |  | Air Cooled Packaged Chillers |
|  |  | 23 81 05 |  | Variable Speed Drives In Packaged Systems |
|  |  | 23 81 13 |  | Packaged Terminal Air Conditioning Units |
|  |  | 23 81 19 |  | Packaged Roof Top Heating/Cooling Units |
|  |  | 23 81 20 |  | Unitary Air Conditioners |
|  |  | 23 81 23 |  | Computer Room Air Conditioning Unit |
|  |  | 23 82 05 |  | Terminal Heat Transfer Units |
|  |  | 23 82 10 |  | Coils |
|  |  | 23 82 26 |  | Induction Unit |
|  |  | 23 83 00 |  | Radiant Heaters |
|  |  | 23 84 13 |  | Evaporative Pan Humidifier |
|  |  | 23 84 14 |  | Steam Grid Humidifier |
|  |  | 23 84 15 |  | Evaporative Humidifier |
|  |  | 23 84 16 |  | Sprayed Coil Dehumidifier |
|  |  | 23 84 96 |  | Cleaning and Chemical Treatment of Air Washer  Recirculating Humidifier Systems |
|  |  |  |  |  |
| **DIVISION 26 - ELECTRICAL** | | | | |
|  |  | 26 01 10 |  | Electrical Operation and Maintenance Data |
|  |  | 26 01 11 |  | Electrical Operation and Maintenance Manual |
|  |  | 26 01 90 |  | Electrical Spare Parts and Maintenance Materials |
|  |  | 26 08 10 |  | Electrical Starting and Testing - General Requirements |
|  |  | 26 08 20 |  | Electrical Starting and Testing by Contractor |
|  |  | 26 08 30 |  | Electrical Starting and Testing by Contractor's Testing Agent |
|  |  | 26 08 40 |  | Electrical Equipment and Systems Demonstration and Instruction |
|  |  |  |  |  |
| **DIVISION 27 - COMMUNICATIONS** | | | | |
|  |  | 27 51 21 |  | Addressable Decentralized Sound Masking Network |
|  | | | | |
| **DIVISION 31 – EARTHWORK** | | | | |
|  |  | 31 00 10 |  | Earthwork Testing |
|  |  | 31 05 13 |  | Fill Materials |
|  |  |  |  |  |
| **Site Clearing** |  | 31 10 00 |  | Site Clearing |
|  |  |  |  |  |
| **Earth Moving** |  | 31 20 10 |  | Earthwork General Requirements |
|  |  | 31 21 13 |  | Radon Mitigation Rough-in System |
|  |  | 31 21 13.03 |  | Radon Mitigation Rough-in System -Alternative Void Space Technology |
|  |  | 31 23 10 |  | Site Excavating, Filling and Grading |
|  |  | 31 23 16 |  | Building and Structure Excavating |
|  |  | 31 23 18 |  | Rock Excavating |
|  |  | 31 23 35 |  | Building and Structure Backfilling |
|  |  | 31 23 38 |  | Trench Excavating and Backfilling |
|  |  |  |  |  |
| **Earthwork Methods** |  | 31 32 13 |  | Soil Cement Base Course |
|  |  |  |  |  |
| **Special Foundations and Load-Bearing Elements** |  | 31 62 13 |  | Cast-In-Place Concrete Piles |
|  | 31 62 18  31 62 19 |  | Driven Steel Piles  Timber Piles |
|  | 31 66 15 |  | Helical Screw Piles |
|  |  |  |  |  |
| **DIVISION 32 – EXTERIOR IMPROVEMENTS** | | | | |
|  |  |  |  |  |
| **Bases, Ballasts and Paving** |  |  |  |  |
|  | 32 11 16 |  | Granular Base |
|  |  | 32 12 16 |  | Asphalt Concrete Pavement |
|  |  | 32 12 16.01 |  | Detail Drawing - Pavement Header Detail |
|  |  | 32 12 17 |  | Asphalt Concrete Pavement Repairs |
|  |  | 32 12 17.01 |  | Detail Drawing - Pavement Header Detail |
|  |  | 32 13 13 |  | Concrete Paving, Curbs and Gutters |
|  |  | 32 13 13.01 |  | Detail Drawing - Standard Curb and Gutter |
|  |  | 32 13 13.02 |  | Detail Drawing - Sidewalk and Swale Gutter Details |
|  |  | 32 13 13.03 |  | Detail Drawing - Standard Curb |
|  |  | 32 13 13.04 |  | Detail Drawing - Curb Ramp |
|  |  | 32 13 13.05 |  | Detail Drawing - Driveway Detail |
|  |  | 32 14 13 |  | Interlocking Precast Concrete Paving |
|  |  | 32 17 10 |  | Road and Parking Appurtenances |
|  |  | 32 17 10.01 |  | Detail Drawing - Street Light Base |
|  |  | 32 17 10.02 |  | Detail Drawing - Metal Car Plug-In-Rail |
|  |  | 32 17 10.03 |  | Detail Drawing - Metal Car Plug-In-Rail (Hollow Structural Steel Beam) |
|  |  | 32 17 10.04 |  | Detail Drawing - Wooden Car Plug-In-Rail |
|  |  | 32 17 10.05 |  | Detail Drawing - Metal Pedestal Plug-In-Post |
|  |  | 32 17 10.06 |  | Detail Drawing - Guard Post Detail |
|  |  | 32 17 23 |  | Pavement Markings |
|  |  |  |  |  |
| **Site Improvements** |  | 32 31 00 |  | Chain Link Fencing |
|  |  | 32 31 00.01 |  | Detail Drawing - Gate Set-Back Detail |
|  |  | 32 31 00.02 |  | Detail Drawing - Standard Chain Link Fence |
|  |  | 32 31 00.03 |  | Detail Drawing - Typical Chain Link Pedestrian Gate |
|  |  | 32 31 00.04 |  | Detail Drawing - Typical Chain Link Vehicle Gate |
|  |  |  |  |  |
| **Irrigation** |  | 32 80 00 |  | Irrigation System |
|  |  |  |  |  |
| **Planting** |  | 32 91 19 |  | Topsoil Placement and Grading |
|  |  | 32 92 19 |  | Seeding |
|  |  | 32 92 23 |  | Sodding |
|  |  | 32 93 00 |  | Landscape Planting |
|  |  | 32 93 43 |  | Semi-Mature Trees |
|  |  | 32 93 90 |  | Interior Live Plants |
|  |  | 32 93 99 |  | Interior Plant Maintenance |
|  |  | 32 99 00 |  | Exterior Landscape Maintenance |
|  |  | 32 99 90 |  | Restoration of Sitework |
|  |  |  |  |  |
| **DIVISION 33 - UTILITIES** | | | | |
|  | | | | |
|  |  | 33 05 10 |  | Piped Utility Systems General Requirements |
|  | 33 05 10.01 |  | Detail Drawing - Existing Utility Crossing |
|  |  | 33 05 10.02 |  | Detail Drawing - Valve Chamber Air Release Manhole |
|  |  | 33 05 10.03 |  | Detail Drawing - Piping Cast Into Concrete Wall |
|  |  | 33 05 10.04 |  | Detail Drawing - Piping Through Existing Concrete Wall |
|  |  | 33 05 10.05 |  | Detail Drawing - Pipe Bedding Details |
|  |  | 33 05 10.06 |  | Detail Drawing - Typical Service Trench |
|  |  | 33 05 10.07 |  | Detail Drawing - Horizontal Thrust Block Detail |
|  |  | 33 05 10.08 |  | Detail Drawing - Vertical Thrust Block Detail |
|  |  | 33 05 23 |  | Tunneling for Utility Crossings Under Highways |
|  |  |  |  |  |
| **Water Utilities** |  | 33 10 10 |  | Water System |
|  |  | 33 10 10.01 |  | Detail Drawing - Hydrant Installation |
|  |  | 33 10 10.02 |  | Detail Drawing - Valve Installation - Section |
|  |  | 33 10 10.03 |  | Detail Drawing - Valve Installation - Elevation |
|  |  | 33 10 10.04 |  | Detail Drawing - Water Riser and Curb Stop |
|  |  | 33 10 10.05 |  | Detail Drawing - Well Connection Detail |
|  |  |  |  |  |
| **Sanitary Sewerage Utilities** |  | 33 30 10 |  | Sewer System |
|  | 33 30 10.01 |  | Detail Drawing - Precast Manhole |
|  |  | 33 30 10.02 |  | Detail Drawing - Drop Manhole |
|  |  | 33 30 10.03 |  | Detail Drawing - 750 mm Catch Basin |
|  |  | 33 30 10.04 |  | Detail Drawing - Manhole Invert on Intersection Less than 90° |
|  |  | 33 30 10.05 |  | Detail Drawing - Sewer Service Connection |
|  |  | 33 30 10.06 |  | Detail Drawing - Sewer Riser |
|  |  |  |  |  |
|  |  | 33 34 05 |  | Sanitary Sewage Force Main System |
|  |  | 33 34 05.01 |  | Detail Drawing - Sewage Force Main Flushout |
|  |  |  |  |  |
| **Storm Drainage Utilities** |  | 33 46 13 |  | Foundation Drainage |
|  |  |  |  |  |
| **Fuel Distribution Utilities** |  | 33 50 10 |  | Gas Distribution System |
|  |  |  |  |  |
|  |  |  |  |  |

**End of Table of Contents**