Section Cover Page

Section 01 33 23 Shop Drawings, Product 2014-10-01 Data and Samples

Use this section when appropriate (normally on large, complex projects) to specify requirements for the submission and review of shop drawings, product data and samples.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	Intent

2.	Related Sections

3.	Shop Drawings

4.	Product Data

5.	Samples

6.	Submittal Preparation

7.	Submission Requirements

8.	Responsibility for Errors, Omissions and Deviations

9.	Reproduction of Submittals

1.	INTENT

.1	Submit to the Province, for review, shop drawings, product data and samples called for by the Contract Documents and for such other items as the Province may reasonably request.

.2	Until submittal is reviewed, do not proceed with work involving the relevant product.

2.	RELATED SECTIONS

.1	Submittals Schedule:	Section [01 32 16] [01 32 17].

3.	SHOP DRAWINGS

.1	Shop drawings means technical data specially prepared for work of this Contract; including drawings, diagrams, performance curves, data sheets, schedules, templates, patterns, reports, calculations, instructions, measurements and similar information not in standard printed form.

.2	Present shop drawings in a clear and thorough manner to appropriately illustrate the work.

.3	Identify field dimensions on drawings.

.4	Identify shop drawings by appropriate references to sheet, detail, schedule or room numbers.

.5	Maximum drawing size: 860 x 1120 mm.

.6	Leave a clear space of 100 mm x 75 mm on each sheet of shop drawings for placement of the Province's review stamp.

.7	Submit one set of mylars for each required shop drawing.

4.	PRODUCT DATA

.1	Product data means standard printed information describing materials, products, equipment and systems; not specially prepared for work of this Contract, other than the designation of selections.

.2	Clearly mark product data to identify products.

.3	Manufacturer's standard schematic drawings, catalogue sheets, diagrams, schedules, performance charts, illustrations and descriptive data will be accepted in lieu of shop drawings provided that:

.1	information not applicable to work of this Contract is deleted, and

.2	standard information is supplemented with information specifically applicable to the work of this Contract.

.4	Submit clear reproducible information as follows:

.1	One copy when product data is submitted as:

.1	Data sheets larger than 216 mm x 355 mm. Submit  mylars.

.2	Unbound data sheets 216 mm x 355 mm or smaller. Submit printed or photocopied sheets.

.2	[Ten][   ] copies when product data is submitted as follows:

SPEC NOTE:  The ten copies required based on the following assumptions:  Mechanical  or Electrical Consultant (1), Prime Consultant (1), Infrustructure (2), Contractor (2), O&M manuals (4).  If project requirements are different adjust the amount.

.1	Information which can not be duplicated using a photocopier with an automatic document feeder, such as bound or multi-fold information.

.2	Information containing photographs or other information that does not reproduce well on a commercial photocopier.

5.	SAMPLES

.1	Samples means cuts or containers of materials or partial sections of manufactured or fabricated components which are physically identical to products proposed for use and which establish minimum standards by which the work will be judged.

.2	Label samples as to origin and intended use in the Work.

6.	SUBMITTAL PREPARATION

.1	Review, date and sign, shop drawings, product data and samples, prior to submission.

.2	Determine and verify:

.1	Field measurements.

.2	Field construction criteria.

.3	Catalogue numbers and similar data.

.4	Conformance with Contract Documents.

.3	Coordinate each submittal with requirements of work and Contract documents.  Individual drawings will not be reviewed until all related shop drawing and product data are available.

.4	Notify the Province, in writing, on the submittal and at the time of submission, of deviations from requirements of Contract Documents.

7.	SUBMISSION REQUIREMENTS

.1	Make submittals sufficiently in advance of date that reviewed submittals will be required and in such sequence as to cause no delay in the Work.

.2	Accompany submittals with transmittal letter, containing:

.1	Date.

.2	Project title and number.

.3	Contractor's name and address.

.4	Number of each shop drawing, product data and sample submitted.

.5	Other pertinent data.

.3	Submittals shall include:

.1	Date and revision dates.

.2	Project title and number.

.3	Name of:

.1	Contractor.

.2	Subcontractor.

.3	Supplier.

.4	Manufacturer.

.5	Name of detailer when details not prepared by Contractor, sub-contractor, or supplier.

.4	Contractor's stamp, initialed or signed, certifying review of submittal, verification of field measurements, and compliance with Contract Documents.

.4	Make corrections or changes to rejected submittals and resubmit, as specified for initial submission.

8.	RESPONSIBILITY FOR ERRORS, OMISSIONS AND DEVIATIONS

.1	The Province's review of submittals does not relieve Contractor from responsibility for errors and omissions, nor deviations from requirements of the Contract Documents.

9.	REPRODUCTION OF SUBMITTALS

.1	After final review, the Province will reproduce at his expense, the number of copies he requires, and return reviewed reproducible documents.  Contractor shall reproduce at his expense the number of copies required for performance of the Work.

END OF SECTION