Section Cover Page

Section 01 33 35 2014-10-01 Contractor Start-Up Report Forms

Use this Section to specify requirements for the submission of Contractor Start-Up report forms when Facility Start-Up procedures are specified in Section 01 91 01.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

.1	Related Sections.

.2	Contractor Start-Up Report Forms.

.3	Submissions.

1.	RELATED SECTIONS

.1	Facility Start-Up Procedures:	Section 01 91 01.

2.	CONTRACTOR START-UP REPORT

.1	Provide Contractor Start-Up report forms for the following:

.1	Each mechanical system specified in Division 20 and 25.

.2	Each electrical system specified in Division 26.

.3	[                    ] system specified in [                    ].

.2	A set of proforma Contractor Start-Up report forms are available from the Province.  These forms may be used in preparation of system reports.  Modify the proforma forms and create new forms as required to provide a complete set of start-up report forms.

.3	Contractor may use his own start-up forms provided that they comply with specified requirements of Contractor Start-Up program.

.4	Include Manufacturer's equipment start-up reports, test certificates and balancing reports under the appendix to the Contractor Start-Up report.

.5	Provide an index of the start-up report content and a sub-index for each system category.  Include divider tabs for each system category and sub-tabs for each individual system.  Similarly provide an index and divider tabs to organize the report's appendix.

.6	Preface each system in the report with:

.1	A list of equipment that makes up the system.

.2	Adjacent to the list of equipment, include columns to indicate status of equipment operation, to date and to sign off equipment start-up.

.3	Space to record equipment and operational problems which can not be corrected within the scheduled Contractor start-up program, and which may delay Interim Acceptance of the Work.

3.	SUBMISSIONS

.1	Submit draft of project specific Contractor Start-Up report forms for the Province's review and comment within [    ] weeks after date of commencement of Contract.  Coordinate requirements for draft document with the Province.  Draft Contractor Start-Up report forms shall be complete with blank manufacturer's equipment start-up forms, test certificates and balancing reports.

.2	Submit final Contractor Start-Up report forms to the Province no later than [4] [ ] weeks after receipt of the Province's review and comments on draft submission.

SPEC NOTE:  Time period specified in 3.2 should be increased for large projects.

.3	Submit Contractor Start-Up reports, complete with all data entered, prior to Interim Acceptance of the Work.

END OF SECTION