Section Cover Page

Section 01 45 00 2014-10-01 Quality Control

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

.1	Testing by Contractor

.2	Testing by The Province

.3	Inspection of Lines and Levels

.4	Reference Standards

1.	TESTING BY CONTRACTOR

.1	Contractor shall furnish to the Province, upon request, test results from testing performed by Contractor.

2.	TESTING BY PROVINCE

.1	The Province reserves the right to employ services of independent testing agencies to establish if work complies with Contract Documents.  The Province will appoint and pay for services of such testing agency.

.2	Where tests or inspections, by the Province appointed testing agency, indicate work is not in accordance with the Contract Documents, additional tests or inspections, as the Province may require, to verify acceptability of corrected work, shall be paid for by Contractor.

SPEC NOTE:  Additional requirements concerning testing agency services may be added, eg.

- Duties of testing agency

- Limitation of authority of testing agency

- Reports

- Contractor's responsibilities.

3.	INSPECTION OF LINES AND LEVELS

.1	When the setting out of main lines for the building is complete, and floor elevations established, request the Province, in writing, to inspect this work.

.2	Do not proceed with any further work until this inspection is made and confirmed in writing.

4.	REFERENCE STANDARDS

.1	Within the text of these specifications, reference may be made to the following standards:

.1	ANSI - American National Standards Institute

.2	ASTM - American Society for Testing and Materials

.3	CGSB - Canadian General Standards Board

.4	CSA  - Canadian Standards Association

.5	CAN - National Standard of Canada (published by CGSB)

.6	FM   - Factory Mutual Engineering Corporation

.7	ULC  - Underwriters Laboratories of Canada

.2	The referenced standard and any amendments in force on the day of receipt of bids shall be applicable to the work during the duration of the Contract.

SPEC NOTE:  General requirements concerning Contractor's quality control may be added to this Section.

END OF SECTION