Section Cover Page

Section 01 78 43 Spare Parts and 2014-10-01 Maintenance Materials

Use this section when appropriate (normally on large, complex projects) to specify general requirements applicable to the supply, delivery, storage, and handling of all required maintenance materials and spare parts.  Specify types and quantities of required spare parts and maintenance materials in the applicable Division 02 to 48 technical Sections.  Always include this Section when Facility Start-Up procedures are specified in Section 01 91 01.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

.1	Related Sections

.2	Source of Supply

.3	Delivery, Storage, and Handling

.4	Acceptance

.5	Schedule

1.	RELATED SECTIONS

.1	Contract Acceptance Procedures:	Section 01 77 20.

2.	SOURCE OF SUPPLY

.1	Provide spare parts manufactured by original equipment manufacturer.

.2	Provide maintenance materials identical to those installed.

3.	DELIVERY, STORAGE, AND HANDLING

.1	Deliver required items to the Place of the Work and store in temporary locations determined by Contractor or permanent locations designated by Province.

.2	Deliver and store items in original factory packaging or other securely packaged form.

.3	Identify, on carton or package, name of item, colour or part number, as applicable.  Identify equipment,  system, area, room no., etc. for which each item is intended.

.4	Maintain an inventory list of all items delivered.  For each item, record description of item, quantity, and location where stored.

.5	Stored items shall remain in Contractor's care, custody, and control until Interim Acceptance of the Work.  Protect stored items against theft or damage.

.6	Handle items as necessary, until stored in permanent locations designated by Province.

4.	ACCEPTANCE

.1	Prior to requesting Province's inspection for Interim Acceptance, do the following:

.1	Review Contract Documents and compare with inventory list to verify that all required items have been delivered.

.2	Verify that items listed on inventory list are in their designated storage locations.

.3	Inspect items to verify that they meet specified requirements and are in serviceable condition.

.4	Arrange for delivery of any missing items.

.5	Arrange for replacement of items not meeting specified requirements or not in serviceable condition.

.6	Provide the Province with copy of inventory list indicating status of all required items.

.2	Review inventory list with the Province during the Province's inspection for Interim Acceptance.

.3	For items not delivered prior to Interim Acceptance of the Work, provide a duplicate copy delivery slip and obtain Province's signature upon delivery. The Province will only accept responsibility for care, custody, and control of items properly received and signed for.

5.	SCHEDULE

SPEC NOTE:  Inclusion of this article requires careful coordination with Div. 02-48 Sections so as to provide a comprehensive schedule of all required spare parts and maintenance materials.  Such a schedule is a useful checklist for the Contractor and those administering the Contract, but is of value only if it is detailed, accurate, and comprehensive.  If such a listing cannot be provided, delete this article.

.1	Provide spare parts and maintenance materials specified in the following Sections:

.1	[	]	Section [       ]

.2	[	]	Section [       ]

.3	[	]	Section [       ]

.4	[	]	Section [       ]

.5	[	]	Section [       ]

.6	[Mechanical Spare Parts

and Maintenance Materials:]		Section [20 00 23]

.7	Electrical Spare Parts

and Maintenance Materials:		Section [26 01 90]

.8	Other Sections which may specify spare parts and maintenance materials.

SPEC NOTE:  Ensure that above list is as comprehensive and accurate as possible.  Delete references to Section 20 00 23 and 26 01 90 if not used.

END OF SECTION