Section Cover Page

Section 01 91 10 2014-10-01 Testing, Adjusting and Balancing

Use this Section when appropriate (normally on large, complex projects) to specify general requirements applicable to testing, adjusting and balancing of all equipment and systems specified in Divisions 02-49.  Always include this Section when Facility Start-Up procedures are specified in Section 01 91 01.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

.1	Intent

.2	Related Sections

.3	Preparation

.4	Testing, Adjusting and Balancing

1.	INTENT

.1	Contractor shall be responsible for testing, adjusting and balancing of all:

.1	piped, ducted, wired and wireless services and systems, including all components and equipment forming part thereof, and

.2	manually and mechanically operated systems including all components and equipment forming part thereof.

.2	Contractor shall perform testing, adjusting and balancing with Contractor's qualified personnel, or employ and pay for a qualified organization to perform such services.

.3	Perform testing, adjusting and balancing after starting of equipment and systems.

.4	Provide personnel, operate systems at designated times, and under conditions required for proper testing, adjusting, and balancing.

.5	Report to the Province any deficiencies or defects noted during testing, adjusting and balancing, which cannot be promptly corrected.

2.	RELATED SECTIONS

.1	Contractor Start-Up Report Forms:	Section 01 33 35.

.2	Facility Start-Up Procedures:	Section 01 91 01.

3.	PREPARATION

.1	Prepare each system and item of equipment for testing, adjusting and balancing.

.2	Verify that each systems and equipment installation is complete and in continuous operation.

.3	Verify ambient conditions.

4.	TESTING, ADJUSTING AND BALANCING

.1	Testing:  Perform tests to confirm compliance with requirements of Contract Documents.  Take corrective action as necessary.

.2	Adjusting:  Perform adjustments to ensure proper, efficient and safe operation.

.3	Balancing:  Perform balancing to ensure that the various parts of system are in a proper state of equilibrium.

END OF SECTION