Section Cover Page

Section 08 01 91 2008-06-02 Minor Window Cleaning Services

Use this Section to specify requirements for window cleaning that can be accomplished with no more than the use of a ladder as a means of access.

Suspended platforms, scaffold towers or other specialized window cleaning equipment shall only be operated by window cleaners who are trained in the rigging and operation of such equipment.  Refer to Section:  Major Window Cleaning Services.

This Master Specification Section contains:

- This Cover Sheet

- Specification Section Text:

1.	General

1.1	Intent

1.2	Related Requirements

1.3	Reference Standards

1.4	Operation and Maintenance Data

2.	Products

2.1	Materials

3.	Execution

3.1	Manufacturer's Instructions

3.2	Verification of Conditions

3.3	Protection of Public

3.4	Protection of Existing Finishes

3.5	Window Cleaning:  Generally

3.6	Clean-Up

1.	General

1.1	INTENT

.1	This Section includes requirements for window cleaning that can be accomplished with no more than the use of a ladder as a means of access.

1.2	RELATED REQUIREMENTS

.1	Refer to Caretaking Task and Frequency Schedule for:

.1	which tasks are to be performed,

.2	frequency in which those tasks are to be performed, and

.3	hours of work during which the specified tasks shall be performed.

.2	Refer to Minor Window Cleaning Material, Equipment and Location Schedule for:

.1	where operations specified in this Section and in the Task and Frequency Schedule, are to be performed, and

.2	any materials or equipment to be supplied by the Minister.

.3	Refer to Section "Major Window Cleaning Services" for window cleaning requirements that requires the use of suspended platforms, scaffold towers, or other specialized cleaning equipment to be operated by window cleaners who are trained in the rigging and operation of such equipment.

1.3	REFERENCE STANDARDS

.1	Comply with the requirements of CSA Z91-M1980 - Safety Code for Window Cleaning Operations, when applicable to the window cleaning operations specified.

1.4	OPERATION AND MAINTENANCE DATA

.1	Obtain applicable operation and maintenance data in the Minister's possession for window materials involved in the tasks of this Section.

2.	Products

2.1	MATERIALS

.1	Provide cleaning materials and supplies not provided by Minister:  non-abrasive to glazing surfaces and non-hazardous to window cleaners.

3.	Execution

3.1	MANUFACTURER'S INSTRUCTIONS

.1	Comply with manufacturer's instructions for methods and cleaning materials to be used for special glazing materials including applied interior glazing films.

3.2	VERIFICATION OF CONDITIONS

.1	Report caulking defects, broken and cracked glazing units to Minister.

3.3	PROTECTION OF PUBLIC

.1	Protect public and building users from hazards with respect to window cleaning chemicals and window cleaning equipment.

.2	Ensure safe passage of persons around and below areas of window cleaning operations.

.3	Install temporary barricades, guardrails and signs to protect public.

3.4	PROTECTION OF EXISTING FINISHES

.1	Provide temporary protection to adjacent building finishes, furniture and equipment from adverse effects of window washing chemicals and equipment.

.2	Where allowable, relocate furniture away from glazing to be cleaned.  Return to designated location after completion of cleaning operations.

3.5	WINDOW CLEANING:  GENERALLY

.1	Washing and polishing of glass and window surfaces, including head, sash, sills, sun and insect screens, where applicable, shall remove all grit, dust, dirt, stains, insects, fingermarks, streaks, spots, cloudy film and graffitti.

3.6	CLEAN-UP

.1	Remove all cleaning chemicals, supplies, and ladders.

END OF SECTION