Section Cover Page

Section 20 01 05 Mechanical Operation and 2021-03-31 Maintenance Data

Use this section to specify specific requirements for mechanical operation and maintenance data where the Construction Manager will be responsible for preparing the Operation and Maintenance manuals using data submitted by the Contractor.

When the Contractor is solely responsible for preparing the  Operation and Maintenance Manuals use Section 20 01 06.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	Intent

2.	Related Requirements

3.	Product Data

4.	Installation, Operation and Maintenance Instructions

5.	Contractor Designed System Data

6.	Certification

7.	Reports

8.	Warranties

1.	INTENT

.1	Contractor shall obtain and submit all mechanical operation and maintenance data specified in Division 01, Division 20, Division 22 and Division 23.

.2	Using operation and maintenance data submitted by Contractor, [Construction Manager] will prepare Division 20, Division 22 and Division 23 operation and maintenance manuals.

2.	RELATED REQUIREMENTS

.1	Comply with requirements of Operation and Maintenance Data and Manual requirements specified in Division 01.

3.	PRODUCT DATA

.1	Collect and submit manufacturer's product data for all equipment and prepackaged systems.

4.	INSTALLATION, OPERATION AND MAINTENANCE INSTRUCTIONS

.1	Collect and submit installation, operation and maintenance instructions for all equipment and prepackaged systems.

.2	Obtain and submit additional comprehensive service manuals requested by the Province.

5.	CONTRACTOR DESIGNED SYSTEM DATA

.1	Prepare and submit Contractor designed system data for systems designed by Contractor.

6.	CERTIFICATION

.1	Collect and submit copies of following inspection certification reports:

.1	Plumbing and Gas

.2	Fire Protection

.3	Boilers and Pressure Vessels

.4	Utility Company

.5	[Other Reports Required by Authorities]

7.	REPORTS

SPEC NOTE:  Revise this list of field reports to reflect project requirements.

.1	Collect and submit field reports including following:

.1	Valve tag directory specified in Section 20 05 43.

.2	Hydronic systems pipe pressure test certificates specified in Section 23 08 43.

.3	Chemical treatment and cleaning reports specified in Sections 23 25 02 [23 25 13], [23 25 19], [23 25 20], [23 25 26] and [23 84 93].

.4	Start-up and testing reports specified in Sections 23 08 13, 23 08 23 and 23 08 33.

.5	Manufacturer's start-up reports specified in Section 23 08 23.

.6	Acoustic reports specified in Section 23 08 83.

.7	Testing, Balancing and Adjusting reports specified in Section 23 08 83.

.8	[                                                              ].

8.	WARRANTIES

.1	Collect and complete manufacturers warranty certificates and submit original copies to the Province.

END OF SECTION