Section Cover Page

Section 20 01 06 Mechanical Operation and 2021-03-31 Maintenance Manual

Use this section to specify specific requirements for mechanical operation and maintenance manuals where the Contractor will be responsible for preparing the Operation and Maintenance manuals.  .

Where the Construction Manager will be responsible for preparing the Operation and Maintenance Manuals use Section 20 01 05.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	Intent

2.	Related Requirements

3.	Manual Divisions

4.	Operations Division - Mechanical Systems

5.	Maintenance Division

6.	Contract Documentation Division

7.	Standards Division

8.	Submission

1.	INTENT

.1	Contractor shall obtain all specified operation and maintenance data.  Using this data, Contractor shall prepare and submit operation and maintenance manuals as specified.

.2	Contractor shall provide EMCS Operation and Maintenance Manual as specified in Section 23 09 23.

2.	RELATED REQUIREMENTS

.1	Comply with requirements of Operation and Maintenance Data and Manual requirements specified in Division 01.

3.	MANUAL DIVISIONS

.1	Organize manual into following divisions:

.1	Operations Division

.2	Maintenance Division

.3	Contract Documentation Division

.4	Standards Division

.2	Provide master divider tab and index for each division.

4.	OPERATIONS DIVISION - MECHANICAL SYSTEMS

.1	Organize all data into sections according to system category, with divider tabs, as follows:

.1	AIR - Air Systems

.2	CLG - Cooling Systems

.3	FPN - Fire Protection Systems

.4	HTG - Heating Systems

.5	MIS - Miscellaneous Systems

.6	PLG - Plumbing Systems

.2	Organize data for each system category (section) into individual systems (subsections). Provide an index for each system category and a divider tab for each individual system.

.3	For each individual system, except Controls System, include following data.

.1	System Description: provide details of system type, composition, areas served, location in building, design criteria and function of major components. All equipment arranged to operate together as one system shall be considered part of that system description. Design criteria shall, at minimum, include following:

.1	Occupied space conditions.

.2	Outdoor ambient conditions.

.3	Air circulation rate.

.4	Exhaust air rate.

.5	Minimum outside air.

.6	Building pressurization.

.7	Future load allowances.

.8	Standby capabilities.

.9	Calculated load and design capacity of domestic water supply mains.

.10	Calculated load and design capacity of drainage mains.

.2	System Schematic: provide a system schematic showing all components comprising central system. Identify each component using its EMCS mnemonic and generic name designation. Use this mnemonic in all references to equipment throughout manual.

.3	Operating Instructions: provide, in "operator" layman language, specific instructions for start-up, shutdown and seasonal change over of each system component.  Include following:

.1	Exact type and specific location of each switch and device to be used in system operation.

.2	Identify safety devices and interlocks that must be satisfied in order for equipment to start.

.3	List conditions to be fulfilled before attempting equipment start up, i.e. valves position correct, glycol mixture concentration proper, piping filled with fluid, filters/strainers in place, etc.

5.	MAINTENANCE DIVISION

.1	Summarize data for this section from Supplier and Sub-trade maintenance submissions, supplemented by appropriate additional data.

.2	Organize data into sections, with divider tabs as follows:

.1	Maintenance Tasks and Schedules

.2	Spare Parts

.3	Suppliers and Contractors

.4	Tags and Directories

.3	Maintenance Tasks and Schedules: organize data according to system category, with further breakdown into individual systems as used in operations division of the manual. Provide section index and divider tabs for each system category. Summarize maintenance tasks from manufacturers maintenance brochures, for each component of each system in following format:

.1	Daily

.2	Weekly

.3	Monthly

.4	Semi-annually

.5	Annually

.6	When required

.4	Spare Parts List: organize data according to system category, with further breakdown into individual systems as used in operations division of manual. Provide section index and divider tabs for each system category. Summarize from manufacturers maintenance brochures recommended spare parts for each component of each system.

.5	Suppliers and Contractors List: provide summary of Suppliers and Contractors for each component of each system. List Company name, address and telephone number of each.

.6	Tags and Directories: provide a copy of tag and other directories.

6.	CONTRACT DOCUMENTATION DIVISION

.1	Organize operation and maintenance data into sections, with divider tabs, as follows:

.1	Drawings List

.2	Shop Drawings and Product Data

.3	Certifications

.4	Warranties and Bonds

.5	Maintenance Brochures

.6	Reports

.2	Drawings List: provide a list of all drawings used in performance of the construction contract.

.3	Shop Drawings and Product Data: provide final copies of all shop drawings and product data.  Include section index and divider tabs. Maximum of twenty-five sheets or one shop drawing per tab.

.4	Certifications by Contractor: provide copies of Contractor certifications for performance of products and systems, and test reports verifying performance of products and systems. Include section index and divider tabs with maximum of twenty-five sheets or one report per tab.

.5	Certifications by Inspection Agency: collect and include copies of following inspection certification reports:

.1	Plumbing and Gas

.2	Fire Protection

.3	Boilers and Pressure Vessels

.4	Utility Company

.5	[Other Reports Required by Authorities]

.6	Warranties and Bonds: include one copy each of the Contractor's warranty, Manufacturers' warranties longer than one year, the bond, and any service contract provided by the Contractor. Provide section index.

.7	Maintenance Brochures: include copies of all manufacturers' printed maintenance brochures pertaining to each product, equipment or system. Provide section index and divider tabs.  Maximum of twenty-five sheets or one brochure per tab.

.8	Field Reports: collect and include field reports.  Include section index and divider tab for each report:

SPEC NOTE:  Revise this list of field reports to reflect project requirements.

.1	Valve tag directory specified in Section 20 05 43.

.2	Hydronic systems pipe pressure test certificates specified in Section 23 08 43.

.3	Chemical treatment and cleaning reports specified in Sections 23 25 02 [23 25 13], [23 25 19], [23 25 20], [23 25 26], [22 51 19] and [23 84 93].

.4	Start-up and testing reports specified in Sections 23 08 13, 23 08 23 and 23 08 33.

.5	Manufacturer's start-up reports specified in Section 23 08 23.

.6	Acoustic reports specified in Section 23 08 83.

.7	Testing, Balancing and Adjusting reports specified in Section 23 08 83.

.8	[                                                                ].

7.	STANDARDS DIVISION

.1	Allow 25mm binder space for standards.  The Province will supply and insert these standards in operation and maintenance manual.

8.	Submission

.1	Submit operation and maintenance manuals in accordance with Section 01 78 23.

.2	Submit operation and maintenance manuals for review by the Consultants, Independent Commissioning Authority and the Province prior to Operator Training Seminar.

END OF SECTION