# Building Details

| Building Name |
| --- |
| Address |
| City or Town | Province | Postal Code |
| Building No. | Contact Person | Telephone |

# System Description

# Control Valves

| Control Valve | Type | Number | Supervised |
| --- | --- | --- | --- |
|  |  |  | Yes | No |
| City Connection |  |  |  |  |
| Tank |  |  |  |  |
| Pump |  |  |  |  |
| System |  |  |  |  |
| Sectional |  |  |  |  |
| Indicator Post |  |  |  |  |

# Fire Pumps

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Type |  |  |
| 2 | Number |  |  |
| 3 | Driver - Electric |  |  |  |
| 4 | Driver - Engine |  |  |  |
| 5 | Test Header |  |  |  |

# Fire Department Connections

| No. | Item |
| --- | --- |
| 1 | Number |  |

# Wet Systems - Alarm Check Valves

| No. | Item |
| --- | --- |
| 1 | Number |  |
| 2 | Make |  |
| 3 | Size |  |

# Wet Systems - Anti-freeze Systems

| No. | Item |
| --- | --- |
| 1 | Number |  |

# Dry Systems

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Number |  |  |
| 2 | Make |  |  |
| 3 | Model |  |  |
| 4 | Size of Valve |  |  |
| 5 | Quick Opening Device |  |  |  |

# Special Systems – Pre-Action

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Number |  |  |
| 2 | Make |  |  |
| 3 | Size of Valve |  |  |
| 4 | Supervisory Air |  |  |  |

# Special Systems – Deluge

| No. | Item |
| --- | --- |
| 1 | Number |  |
| 2 | Make |  |
| 3 | Size of Valve |  |

# Special Systems – Other

| No. | Item |
| --- | --- |
| 1 | Type |  |
| 2 | Make |  |

# Alarms

| No. | Item |
| --- | --- |
| 1 | Water Gong |  |
| 2 | Flow Switches |  |
| 3 | Pressure Switches |  |

###### End of Section

# Building Details

| Building Name |
| --- |
| Address |
| City or Town | Province | Postal Code |
| Building No. | Contact Person | Telephone |
| Inspector | Date |

# General

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Are all systems in service? |  |  |  |
| 2 | Have there been any changes or repairs to the system since the last inspection? |  |  |  |
| 3 | Do all areas protected by the wet system appear to be properly heated? |  |  |  |

# Control Valves

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Are all sprinkler control valves and all other valves in the appropriate open or closed positions? |  |  |  |
| 2 | Are all control valves in the open position and locked, sealed, or equipped with a tamper switch? |  |  |  |

Control Valves

| Location | Type | Easily Accessible | Signs | Valve Open | Secured | Supervised | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |  |

# Water Supplies

| 1 | Water supplied from |  |
| --- | --- | --- |

| Test Pipe Location | Size | Pressure Before | Flow Pressure | Pressure After |
| --- | --- | --- | --- | --- |

# Tanks, Pumps, and Fire Department Connections

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Are fire pumps, gravity tanks, reservoirs and pressure tanks in good condition? |  |  |  |
| 2 | Have fire pumps been tested to their full capacity in the past 12 months? |  |  |  |
| 3 | Are fire department connections in satisfactory conditions? |  |  |  |
| 4 | - couplings free |  |  |  |
| 5 | - caps in place |  |  |  |
| 6 | - and check valves tight |  |  |  |
| 7 | Are fire department connections accessible and visible? |  |  |  |

# Wet Systems

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Number of Systems |  |  |
| 2 | Make |  |  |
| 3 | Model |  |  |
| 4 | Are cold weather valves in the appropriate open or closed position? |  |  |  |
| 5 | Have antifreeze solutions been tested? |  |  |  |
| 6 | Were antifreeze test results satisfactory? |  |  |  |

# Dry Systems

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Number of Systems |  |  |
| 2 | Make |  |  |
| 3 | Model |  |  |
| 4 | Date of Last Test |  |  |
| 5 | Are the normal air and priming water levels normal? |  |  |  |
| 6 | Is the air supply satisfactory? |  |  |  |
| 7 | Were all the low points drained during this inspection? |  |  |  |
| 8 | Did the quick opening devices operate satisfactorily? |  |  |  |
| 9 | Did the valve trip properly? |  |  |  |
| 10 | Did the dry valves appear to be protected from freezing? |  |  |  |

# Dry Systems Schedule

| Location | Trip Time | Water Pressure | Air Pressure | Trip Point Air Pressure | Time of Water To Test Point | Alarm | System Provided | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Yes | No | Yes | No |  |

# Special Systems

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Number of Systems |  |  |
| 2 | Make |  |  |
| 3 | Model |  |  |
| 4 | Type |  |  |
| 5 | Were valves tested? |  |  |  |
| 6 | Did valves operate properly? |  |  |  |
| 7 | Did all heat responsive devices operate? |  |  |  |
| 8 | Did all supervisory functions operate properly? |  |  |  |

Comments

# Special Systems (Pre-action, Deluge, etc)

| Location | Type of System | Make | Model | Manual Tip Operative | Super-vison | Super-vison Alarm Funcional | System Alarm Funcional | Heat Activated Device Operating | Trip Time | System Drained |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |  | Yes | No |

# Alarms

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Did all water motors and gongs operate? |  |  |  |
| 2 | Did all electrical alarms test satisfactorily? |  |  |  |
| 3 | Did all supervisory alarms operate satisfactorily? |  |  |  |

# Special Systems (Pre-Action, Deluge, etc)

| Locaton | Type of Device | Alarm | Time Delay | Comments |
| --- | --- | --- | --- | --- |
|  |  | Yes | No |  |  |

# Sprinklers

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Do sprinklers generally appear to be in good condition? |  |  |  |
| 2 | Are any sprinklers over 25 years old? |  |  |  |
| 3 | Do sprinklers appear to be free of corrosion, paint, grease and damage? |  |  |  |
| 4 | Is there a minimum of 460 mm clearance between the top of storage and sprinkler deflectors? |  |  |  |
| 5 | Is there sufficient stock of spare sprinklers available? |  |  |  |
| 6 | Does the exterior condition of the sprinkler system appear to be satisfactory? |  |  |  |
| 7 | Are sprinklers the proper temperature rating for their locations? |  |  |  |

# Explanation of “No” Answers

# Adjustments or Corrections Made

# Improvements Recommended

# Signatures

| Inspector | Minister’s Represntative | Date |
| --- | --- | --- |