Section Cover Page

Section 23 08 93 Mechanical Equipment and Systems 2021-03-31 Demonstration and Instruction

Use this Section to specify all demonstration and instruction requirementsmechanical equipment and systems.  Do not specify these requirements in individual technical sections; include cross-references to this Section 23 08 93 only.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	Intent

2.	Related Requirements

3.	Demonstrations

4.	Seminars

5.	Site Tours

1.	INTENT

.1	Provide instruction and demonstration sessions to familiarize the Province with the building's mechanical systems.

2.	RELATED REQUIREMENTS

.1	Equipment and System Demonstration and Instruction:	Division 01.

3.	DEMONSTRATIONS

.1	Demonstrate specific starting and general maintenance requirements for each piece of equipment. Ensure all labelling and identification is completed.

.2	Demonstrate following systems:

SPEC NOTE:  List systems which are required to be demonstrated.

.1	Air Systems

.2	Controls Systems

.3	Cooling Systems

.4	Fire protection Systems

.5	Heating Systems

.6	Plumbing Systems

.7	[                     ]

.3	Demonstrate following pieces of equipment:

SPEC NOTE:  List pieces of equipment which require demonstration.

.1	[                        ]

.4	Coordinate training with the Province [and the Independent Commissioning Authority].

4.	SEMINARS

.1	Present Operator Training Seminar(s) including content specified in Section 01 79 00.

.2	Present Operator Training Seminar(s) for following systems and pieces of equipment:

.1	Systems designed by Contractor.

.2	[                            ].

5.	SITE TOURS

.1	Provide a series of guided tours of facility to allow operators to familiarize themselves with building's mechanical systems.

.2	Coordinate timing of tours with the Province. Allow for tours at approximately the following times:

.1	[75% complete stage] [[Six][    ] weeks prior to Interim Acceptance of the Work].

.2	[90% complete stage] [[Three] [    ] weeks prior to Interim Acceptance of the Work].

.3	At Interim Acceptance of the Work.

END OF SECTION