Section Cover Page

Section 27 51 16 2008-05-01 Public Address System

Use this Section to specify a "stand-alone" Public Address System.

Indicate the exact number of microphones required.  Indicate location of the amplifier on the drawings.  It may be preferable to shelf-mount the amplifier, in lieu of rack mount.

Specify that the P.A. System shall interface with the Emergency Call, Paging & Door Monitoring Systems specified in Section 27 51 16, so that the tones, including meal call and front and rear door calls, will be heard over the P.A. speakers.  Seek input from the Lodge Foundation regarding the extent of tone coverages.

This Master Specification Section contains:

.1	This Cover Page

.2	Specification Section Text:

1.	General

1.1	Related Requirements

1.2	System

2.	Products

2.1	Components

3.	Execution

3.1	Installation

1.	General

1.1	RELATED SECTIONS

.1	Basic Electrical Requirements:	Section 26 00 05.

.2	Emergency Call, Paging and Door

Monitoring System:	Section 27 51 14.

1.2	SYSTEM

.1	Public address system with multi-point microphone input facilities and provisions for background music.

.2	Tone generators for meal call signal, front and rear door calls.

2.	Products

2.1	COMPONENTS

.1	Microphones, Generally:  dynamic, omni-directional and as follows:

.1	Output Level at 1 kHz, Open Circuit:  81 db.

.2	Power Level:  60 db.

.3	E1A Sensitivity:  153 db.

.2	Wall-Mounted Microphones:

.1	Mounting:  flush, on standard single gang wall box, rubber shock mounted.

.2	Finish:  brushed chrome.

.3	Switch:  double pole, double throw pushbutton for push to talk and line shorting.

.4	Frequency response:  100-10,000 Hz.

.5	Impedance:  150 to 200 ohms,

OR

SPEC NOTE:  Obtain decision from lodge as to whether wall-mounted or hand-held microphone is preferred.  Specify only one type.

.2	Handheld Microphone:  with "on-off" switch, 1.5 m coiled cord and 90° cannon plug, and as follows:

.1	Type:  dynamic, omni-directional.

.2	Frequency response:  100-7,000 Hz.

.3	Impedance:  low.

.4	Finish:  [communications grey] [       ].

.5	Size:  65 mm wide, 100 mm high, 40 mm deep,

.2	Mixer Preamplifier:  solid state, five input channels for microphones, high level or magnetic input as required.  Separate speech filter in each channel.  Master gain control, power On/Off switch and VU meter, as follows:

.1	Rated Output:  +28 dbm transformer isolated, 150/600 Ohm, balanced.

.2	Distortion:  less than 0.5% at +28 dbm, 20 to 20 000 Hz.

.3	Frequency Response:  20 to 20 000 Hz + Idbm.

.4	Sensitivity (input attenuator set for maximum gain):

.1	Microphone:  250 microvolts.

.2	Magnetic:  5 microvolts.

.3	High Level:  4 millivolts.

.4	Line:  400 millivolts.

.5	Noise level:  master gain control up, 90 db below rated output.

.6	Inputs:  each channel may be used for balanced low impedance microphone, 150/250 Ohm nominal, magnetic phono, line/high level 600 to 25 000 Ohm.

.7	Load Impedance:  150 or 600 Ohm.

.8	Monitor Output:  +10  dbm  to 600 Ohm load.  Rear panel monitor monitor amplifier outputs 0.8 V to 10 000 Ohm or +10 dbm to 600 Ohm single ended.

.9	Controls and Indicators:  5 input level, 1 master, 1 base and 1 treble each 3 db per step to +15 db, 1 monitor, 1 output switch, 1 power switch, 1 VU range, 5 speech filter switches (-10 db at 100 Hz), 5 input attenuator switches, illuminated VU meter.

.3	Dynamic Range Limiter:

.1	Provide a combined compression amplifier on the line side of the transformer matched mixer with an instantaneous operating noise gate which reduces the "No Signal" noise by 15 db.

.2	Compressor Section:  attack time less than 30 microseconds with a release time of 1.5 seconds.

.3	Noise Gate:  a one microsecond attack time with a 200 millisecond release time.  Design unit to operate from a 600 volt line at levels from -30 to +28 dbm.

.4	Direct reading compression meter.

.5	Rated Output:  +14 dbm with a maximum output of +28 dbm.

.6	Distortion, THD:  straight amplifier, 0.5% with up to 40 db compression.

.7	Frequency Response:  20 to 20 000 Hz + 1 db.

.8	Gain: 600 Ohm, at threshold of compression: 51.5 + db; bridging, at threshold of compression: 14 +2 db.

.9	Input Impedance, Matching: 600 Ohm; with bridging: 10,000 Ohm.

.10	Output Impedance:  600 Ohm.

.11	Noise, Threshold of compression:  70 db.

.12	Noise Level, Dynamic noise amplifier "On":  80 db.

.13	Compression Ratios:  up to 40 db of signal compression with 5:1 and 10:1 compression ratio.

.14	Controls:  input level (gain), output level (gain), meter switch, power switch, compression disable, compression ratio, noise amplifier disable.

.4	Audio Power Amplifier:  Solid state with silicone transistors used exclusively.  Incorporate temperature stabilized circuitry, electronic power limiting, output stage protection  and the following:

.1	Rated Output:  50 W rms.

.2	Distortion:  less than 1.5%, 30 to 20 000 Hz.

.3	Frequency Response:  20 to 20 000 Hz +2 db at 3 db below rated output.

.4	Noise Level:  80 db below rated output.

.5	Input Sensitivity:  0.4 V for rated output.

.6	Input Impedance:  100 000 Ohm, single ended.

.7	Load Impedance:  [100 Ohm 70V balanced or single ended] [12.5 Ohm 25V balanced or single ended] [25 Ohm single ended].

.5	Loudspeakers:  cone type, 200 mm diameter, nominal continuous wattage rating 11 watts, axial sensitivity with one watt input not less than 84.5 db at 3 m on axis, and as follows:

.1	Permanent Magnet:  ceramic, minimum 170 g.

.2	Voice coil:  minimum 25 mm in diameter.

.3	Frequency Response:  30-13,000 Hz, ±5 db.

.6	Loudspeaker Matching Transformers:  multi-tap type 0.25 to 4 W [25 V line] [70 V line] and as follows:

.1	Frequency Response:  100 to 10,000 Hz +1 db.

.2	Maximum Insertion Loss:  1 db. Output.

.3	Impedance:  8 Ohm.

.4	Loudspeaker Enclosure:  flush mounted.

.7	Loudspeaker Baffles:  Flush mounted.

.8	Wiring and Cable:  19/2 PVC insulated twisted pair for multi-speaker hook-up.

.9	Conduit:  as specified in Section 26 05 01.

.10	Amplifier Rack:  rigid metal frame with totally enclosing Code gauge metal panels, louvred where required for ventilation, and as follows:

.1	Rack finished in colour selected by the Minister over corrosion-resistant primer,

.2	AC strip kit assembly, 100 mm heavy duty,

.3	Industrial type casters with stop lock assembly,

.4	Fan kit assembly bottom mounted, delivering not less than [140 L/s] [300 cfm] through rack complete with thermostat and manual motor protection switch.

.11	Heat Deflectors:  [          ] finished to match the main equipment.

3.	Execution

3.1	INSTALLATION

.1	Install sound equipment where indicated on the drawings.

.2	Install wiring in conduit in walls, above non-removeable ceilings and where subject to damage.  Install open wiring in all removeable ceiling areas.

.3	On completion of installation, check system for operation, adjust transformer tap settings and leave system fully operational.

END OF SECTION