Section Cover Page

Section 32 14 13 Interlocking Concrete 2018-08-15 Paving Stones

Use this Section to specify requirements for Interlocking Concrete Paving Stones laid on a sand and granular base with polymeric sand filled joints.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	General

1.1	Related Requirements

1.2	Reference Documents

1.3	Submittals

1.4	Quality Assurance

1.5	Testing

  - Delivery, Storage And Handling

  - Extra Materials

2.	Products

2.1	Crushed Gravel Granular Base

2.2	Bedding And Joint Sand

2.3	Interlocking Concrete Paving Stones

  - Geotextile Fabric

  - Paver Edge Restraints

3.	Execution

3.1	Examination

3.2	Subgrade Preparation

3.3	Geotextile Fabric

3.4	Crushed Gravel Granular Base

3.5	Sand Bedding Course

3.6	Edge Restraint Installation

3.7	Interlocking Paving Stone Installation

3.8	Polymeric Jointing Sand

3.9	Acceptance

3.10	Clean-Up And Protection

1.	General

1.1	RELATED Requirements

.1	Fill Materials:	Section 31 05 13.

.2	Site Excavating, Filling, and Grading:	Section 31 23 10.

1.2	REFERENCE DOCUMENTS

.1	Canadian General Standards Board (CGSB):

| .1 | CAN/CGSB-148.1-M03 | Methods of Testing Geosynthetics |
| --- | --- | --- |

.2	Canadian Standards Association (CSA):

| .1 | CSA A231.1-14/ A231.2-14 | Precast Concrete Paving Slabs/Precast Concrete Pavers |
| --- | --- | --- |
| .2 | CSA A23.1-14/A23.2-14 | Concrete Materials and Methods of Concrete Construction / Test Methods and standard practices for Concrete |

1.3	SUBMITTALS

SPEC NOTE:  Edit submittal requests depending on project.  Shop drawings are generally only

required if special features, patterns or conditions are a requirement.

.1	Comply with Submittal Procedures Section 01 33 00.

.1	Replicate full size samples of each type, colour and shape of paving stone including manufacturer’s product data and source of material to be submitted to the Province’s representative for review.

.2	Sieve analysis for gradation of crushed gravel and bedding sand from source.  Submit minimum ten (10) days prior to use of materials.

.3	Certified test results from an independent testing laboratory certifying that paving stones comply with specified CSA test requirements.

.4	Sample of geotextile fabric including manufacturer’s product data.

.2	Prepare and submit shop drawings, if requested by the Province, that indicate specific paving stone layouts, patterns and relationship of paving joints to fixtures and adjacent project installations.

  - QUALITY ASSURANCE

.1	Installation of paving stone work shall be performed by experienced qualified personnel employed by a firm regularly engaged in installation of interlocking paving stones.

.2	Construct sample mock-up of paving stone area, minimum 3.0 m x 3.0 m or as directed by the Province on site, to determine joint sizes, lines, colour selection, and laying patterns.  Mock-up may be retained as part of finished work if acceptable to the Province.

.3	Work shall not proceed during rain or snowfall, when base materials are frozen or saturated or when sand is frozen or saturated.

  - TESTING

.1	The Province may appoint and pay for services of a testing agency to perform earthwork quality control testing and related functions that the Province determines necessary to perform.

.2	Density tests may be performed before and during granular fill placement operations to ensure that specified minimum compaction requirements are met as determined by the Province.

.3	Imported fill materials may be tested, before placement, for conformance with specified fill requirements and to confirm suitability for intended uses.

.4	Cooperate with testing agency in testing for compaction and fill material sampling.  Provide minimum 1 m3 on site of each type of imported fill material.

.5	Contractor will be responsible for payment of any subsequent testing required due to initial test failures.

  - DELIVERY, STORAGE AND HANDLING

.1	Deliver concrete pavers and accessories to site in such a matter that no damage occurs during shipping, handling, and storage.

.2	Cover bedding and joint sand delivered to site with waterproof covering to prevent exposure to rain or removal by wind.  Secure covering in place.

.3	Coordinate delivery and installation to minimize interference with building use.

.4	Any damaged or unacceptable materials shall be removed from site and replaced at the Contractor’s expense.

  - extra materials

SPEC NOTE:   Edit or delete item regarding any requirement for extra materials.  Ensure that storage space is available before specifying extra materials.

.1	Provide the Province with additional spare paving stone units of each type and colour for future maintenance and repair from same lot as installed on site.  Supply sufficient material for approximately [        m2 ] of pavement or as directed by the Province.

2.	Products

2.1	CRUSHED GRAVEL GRANULAR BASE

.1	Crushed gravel sub-base:  as specified in Section 31 05 13.

2.2	BEDDING AND JOINT SAND

.1	Bedding Sand:  as specified in Section 31 05 13.

.2	Polymeric Joint Sand Stabilizer:  manufactured dry mixture of graded sand and polymer binding agents especially formulated for paving stone joints.  Colour shall be compatible with installed paving stones or as selected by the Province.  Apply in accordance with manufacturer’s specifications.

2.3	INTERLOCKING CONCRETE PAVING STONES

SPEC NOTE:  Edit item as necessary to suit project.

.1	Interlocking Concrete Paving Stones shall comply to CSA A231.1/A231.2 and meet the following physical and performance requirements:

.1	Compressive strength:  minimum 55 MPa.

.2	Water Absorption:  less than 5%.

.3	Freeze/Thaw Resistance:  maximum weight loss less than 1%.

.4	Size Tolerance:  variation in size dimensions not to exceed 1.5 mm in length or width and 3 mm in height from standard dimensions.

.5	Colour(s):  [              ], or as selected by the Province.

.6	Shape:  [               ] [and] [           ], [as shown on drawings].

.7	Thickness:

.1	60 mm for pedestrian traffic areas.

.2	80 mm for vehicular traffic areas.

.8	Dimensions:  full size stones to manufacturer’s specified dimensions for each selected shape and pattern of stone including standard, edging and 50% edging stone and to specific stone dimensions where detailed.

SPEC NOTE:  If requested by the Province, identify and submit dimensions, colours and shapes of each paving stone required for project for the Province’s approval prior to commencement of work.

.2	All interlocking paving stones shall be sound and free of cracks, chips and defects that would interfere with proper placing of units or impair strength or permanence of construction.

2.4	GEOTEXTILE FABRIC

.1	Geotextile Fabric:  black woven geotextile fabric complete with manufacturer’s installation accessories to meet or exceed the following minimum physical properties or as approved by the Province.  Comply to CAN/CGSB-148.1 standard (Latest Edition).

Grab Tensile Strength:	1.400 kN

Puncture Resistance:	0.530 kN

Apparent Opening Size:	0.425 mm

Mullen Burst	4130 kPa

2.5	PAVER EDGE RESTRAINTS

SPEC NOTE:  Edit Item 2.5 and specify only the paver edge restraint(s) required for project.

.1	Plastic Edge Restraint: rigid and flexible PVC edging restraint made of high density polyethylene material. Material specially designed for paving stones, complete with connectors, pre-manufactured anchoring locations and other manufacturer’s installation accessories.

.2	Solid Hard Edge Restaints: [concrete], [steel], [aluminium], [cut stone], [pre-cast concrete], [pressure treated wood], [                      ] complete with connectors as applicable to material.

.1	Concrete:  see drawing for detailed information and Section 32 13 13.

.2	[                     ]

3.	Execution

3.1	EXAMINATION

.1	Prior to commencement of work, check and verify that site conditions are acceptable for installation of paving stones.

.2	Advise the Province of any unsatisfactory site conditions that will affect workmanship and performance of paving stone installations.  Do not commence work until the Province has inspected and approved areas of work.

.3	Where excavation and subgrade preparation requirements are completed by others, Contractor shall check and verify that work meets requirements of specifications.

.4	Verify that site is not frozen and that work area is free of snow, ice and wet conditions.

3.2	SUBGRADE PREPARATION

.1	Excavate, prepare and finish subgrade to uniform levels and depths that accomodates  placement of required subbase materials  and paving stones to achieve required finish grade.

.2	Provide adequate slope for drainage when excavating subgrade.  Ensure subgrade preparation extends minimum 150 mm beyond edge of finished pavement surface and to rear face of edge restraints.

.3	Excavate and remove any additional unsuitable or unstable subgrade soil, foreign materials and soft spots until a solid subgrade is reached.  Fill areas with crushed gravel, meeting identified specifications, fill and compact to 98% Standard Proctor Density.

.4	Compact subgrade soil to minimum 98% Standard Proctor Density before placing granular base.

.5	Subgrade preparation shall be approved by the Province before placement of granular base.

.6	Proof-Rolling: contractor shall proof roll prepared subgrade surface to check for unstable areas and areas that require additional compaction.  Provide acceptable proof rolling equipment of sufficient mass weight to compact subgrade to 98% Standard Proctor Density.  Contractor shall correct deficient and unstable subgrades by removing unsuitable material and replace with granular fill to achieve uniform subgrade.

SPEC NOTE:  Proof rolling not generally required for pedestrian walks and light traffic paved areas.  Delete item 3.2.6 if not required.

3.3	geotextile fabric

.1	Place woven geotextile fabric to completely cover all approved compacted subgrades.  Install fabric in accordance with manufacturer’s instructions.

.2	Stretch fabric taut and free of wrinkles, folds and creases.  Overlap minimum 600 mm in direction of drainage.  Turn geotextile up against vertical surfaces.

.3	Secure geotextile fabric in place in accordance with manufacturer’s instructions.

.4	Remove and replace damaged or deteriorated fabric.

3.4	CRUSHED GRAVEL GRANULAR BASE

SPEC NOTE:  Base thickness determined by traffic loads, soil type, subgrade soil drainage and moisture, and climate conditions. Edit as necessary for project.

.1	Pedestrian Walks:  place and spread crushed gravel to a uniform and overall minimum compacted depth of [ 200 ] [      ] mm.  Compact crushed gravel to minimum 95% Standard Proctor Dry Density using appropriate compaction equipment.

.2	Vehicular Traffic:  place and spread crushed gravel to a uniform and overall minimum compacted depth of [ 300 ] [      ] mm.  Compact crushed gravel to minimum 98% Standard Proctor Dry Density using appropriate compaction equipment for vehicular traffic surfaces.

.3	Spread and compact granular base in separate uniform layers or lifts not exceeding 100 mm compacted thickness.

.4	Placement of granular base shall extend minimum 150 mm beyond the edges of the finished pavement to provide support for the edge restraint.

.5	Maintain optimum moisture content of granular base material during compaction.

.6	Ensure required compaction is achieved adjacent to edge restraints, catch basins, manholes, utility and building structures.

3.5	SAND BEDDING COURSE

.1	Granular base shall be approved by the Province before placement of sand levelling course.

.2	Spread bedding sand loosely in a uniform layer with sufficient depth to achieve a final compacted thickness of 25 to 30 mm after paving stones are placed and vibrated.

.3	Screed sand lightly to a smooth even surface slightly ahead of laying paving stone units.  Place and screed only enough sand that will be covered with paving units the same day.

.4	Once sand is screeded and levelled to required contours and grades, the sand laying course shall not be disturbed.  Any resulting depression or disturbance in the screeded                                                                                                              sand shall be loosened, raked and rescreeded before laying pavers.

.5	Do not install frozen bedding sand or sand over wet or frozen base.

3.6	EDGE RESTRAINT INSTALLATION

SPEC NOTE:  Edit item and specify paver edge restraint(s) that have been specified for project.

.1	Install edge restraints on compacted granular base true to grade and as shown and detailed on drawing.

.2	Plastic edge restraint:  install PVC paver edge restraint and spike into compacted gravel base through pre-drilled holes in edging according to manufacturer’s instructions.

.3	Concrete curb:  install as detailed on drawing and Section 32 13 13.

.4	Timber edger:  install as detailed on drawings.

.5	[                         ]

3.7	INTERLOCKING PAVING STONE INSTALLATION

.1	Overall intent is to use full size paving stone units with minimal cutting where possible.

.2	Install clean and solid paving stones on an undisturbed and dry screeded sand base.  Paving stones shall be placed uniformly, tight and level in patterns indicated on drawing or as approved by the Province.

.3	Paving work shall be true to line and grade and shall be installed to properly coincide and align with adjacent work and elevations.   String lines or other approved methods shall be used to hold all pattern lines true.

.4	Soldier Course: lay soldier course of pavers that abuts against the edge restraint.  Place stones at a suitable angle to the edge restraint to achieve required visual orientation of paving units in the completed pavement.  Around manholes and catch basins, place wedge shaped pieces with required joint to ensure cut edge pieces are within the body of the pavement.

.5	Butt paving stone units together with maximum 3 mm joints.  Maintain straight and consistent joint lines during placement of pavers.

.6	Fill gaps at edge of paved surface with standard edge paver units or paving stone cut to fit.  Do not use cut stone pieces smaller than one-third of a full size paver.

.7	Cut stones shall fit accurately and neatly. Cutting shall provide a straight even surface without cracks or chips using a double bladed splitter or a masonry saw.  When cutting precision designed paving stone areas a masonry saw shall be used.

.8	Embed, tamp and level paving units into sand base by compacting with mechanical flat-plate vibrator.  Do not vibrate within 1 m of unrestrained edges of paving units.

.9	Vibrate all paving stones laid the same day.

.10	Remove and replace all loose, chipped, broken, stained, unevenly cut or otherwise damaged paving units and stones not laid true to line and grade.  Install new stones to comply with specifications.  Repairs shall be completed before spreading joint sand.

3.8	polymeric jointing sand

.1	Surface must be completely dry.  Spread polymeric sand uniformly over paving stone surface.  Use a push broom and sweep sand to fill all joints completely to full depth.

.2	Vibrate polymeric sand into joints using mechanical flat-plate vibrator to achieve compaction of sand in joints.   Repeat sweeping of joint sand and vibration, as necessary, until joints are completely full.

.3	Sweep paving stone surface with a fine bristle brush and remove all residues with a mechanical blower.  Wetting of surface shall be performed in sections and without interruption until complete in accordance with manufacturer’s instructions.  Ensure surface is not exposed to rain within 90 minutes to wetting.

.4	Allow a minimum of twenty-four (24) hours drying time prior to allowing foot traffic and fourty-eight (48) hours for vehicular traffic on paver surface.   Sweep completed paving stone surface clean prior to first use.  The Province shall inspect surface prior to first use.

3.9	acceptance

.1	Finish paving stone surface shall be free of depressions, provide positive drainage, be laid flush with adjacent finished surfaces and shall be true to line and grades.  Loose, chipped, unevenly cut and other deficient or unacceptable paving stone units shall be rejected.

.2	Final surface tolerance of compacted paving stones shall not deviate more than 5 mm under a 3.0 m straightedge at any location on surface.  Areas of pavement that fail to meet the requirement for surface tolerance shall be rejected.

.3	Finish surface elevation of pavers shall be 3 to 6 mm above adjacent drainage outlets, concrete collers or channels.

.4	Any rejected pavers or areas of pavement shall be removed and either reinstalled or replaced by the Contractor and approved by the Province.

.5	All workmanship and materials shall meet requirements of specifications.

3.10	CLEAN-up and protection

.1	Broom clean excess sand from finished paving stones and wash free of stains, discolouration, dirt and other foreign debris to provide a clean finished paved surface.

.2	Remove all excavated materials and other surplus materials and debris from site.

.3	Protect work from damage during subsequent construction activities until project acceptance.

END OF SECTION